| Project # |  | Firm Name |  |
| --- | --- | --- | --- |
| Project Name |  |  |  |
| FM Project Mgr |  |  |  |
| I certify that this is our final invoice and all documents required, as noted below, have been completed and submitted to the FM Project Manager for distribution and our professional service contract can now be closed. |  |  |  |
| Signature |  | Date | / / |

|  | Contract Deliverables | Date Acc. By GC | Date Rec’d by A/E | Date Sent to Univ | N/A |
| --- | --- | --- | --- | --- | --- |
| 1 | Sealed Drawings and Specifications | / / | / / | / / |  |
| 2 | Operating and Maintenance Manual (O&M) | / / | / / | / / |  |
|  | 3 copies sent to FM (1 set to Programmed Maintenance; 1 set to archivist; 1 set to the building coordinator, if requested) | / / | / / | / / |  |
|  | O&M Manual to include the following if applicable: | / / | / / | / / |  |
|  | Inspection Certificates | / / | / / | / / |  |
|  | - Pressure Piping | / / | / / | / / |  |
|  | - Elevator Inspection | / / | / / | / / |  |
|  | - Boiler Inspection | / / | / / | / / |  |
|  | - Electrical Inspection | / / | / / | / / |  |
|  | - Plumbing Inspection | / / | / / | / / |  |
|  | - Piping Purification | / / | / / | / / |  |
|  | - Life Safety Inspection | / / | / / | / / |  |
|  | - Structural | / / | / / | / / |  |
|  | - Medical Gas | / / | / / | / / |  |
|  | - Fume Hood | / / | / / | / / |  |
|  | - Other: | / / | / / | / / |  |
|  | Letter of approval or written approval from the Fire Marshal for fire suppression system | / / | / / | / / |  |
|  | Air Balance Reports (3 copies) | / / | / / | / / |  |
|  | Water Balance Reports (3 copies) | / / | / / | / / |  |
|  | Asbestos Abatement Reports (3 copies) | / / | / / | / / |  |
|  | Certificate of Equipment Demonstration | / / | / / | / / |  |
|  | Equipment and System Warranties | / / | / / | / / |  |
|  | Extended Warranties and Guarantees | / / | / / | / / |  |
|  | Certification of Warranty Commencement (also attach to contractor final payment) | / / | / / | / / |  |

|  | Contract Deliverables |  |  | Date Acc. By CM |  | Date Rec’d by A/E | Date Sent to Univ | N/A |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4 | AS BUILT DOCUMENTS |  |  | / / | N/A |  | N/A |  |
|  | Received and accepted |  |  | / / | N/A |  | N/A |  |
|  | Submitted to A/E |  |  | N/A | / / |  | N/A |  |
| 5 | RECORD DOCUMENTS (A/E ONLY) (PM to review with Plant Ops Archive Data Manager) |  |  | N/A | / / |  | / / |  |
|  | 1 set sent to Plant Ops Archivist on CD or DVD. Format to follow the Record Documents Submittal Guidelines. |  |  | / / | / / |  | / / |  |
|  | 1 printed set sent to FM Facilities Services Center PM Manager |  |  | / / | / / |  | / / |  |
|  | 1 printed set sent to building coordinator (if requested) |  |  | / / | / / |  | / / |  |
| 6 | PUNCH LIST COMPLETED AND FINAL INSPECTION |  |  | / / | / / |  | / / |  |
| 7 | CONTRACTOR CLAIMS RESOLVED |  |  | / / | / / |  | / / |  |
| 8 | KEYS HAVE BEEN RETURNED |  |  | / / | / / |  | / / |  |
|  | Key Cards |  |  | / / | / / |  | / / |  |
| 9 | FINAL CONTRACTOR PAYMENTS |  |  | / / | / / |  | / / |  |
|  | All change orders have been processed and approved by University |  |  | / / | / / |  | / / |  |
|  | Final Certified Payroll Reports have been received |  |  | / / | / / |  | / / |  |
|  | Certification of Contract Completion |  |  | / / | / / |  | / / |  |
|  | Payment Release Affidavit |  |  | / / | / / |  | / / |  |
| 10 | RECEIPT OF PARTS AND STOCK MATERIALS |  |  | / / | / / |  | / / |  |
| 11 | FINAL AS BUILT DOCUMENT LIBRARY SUBMITTED TO PM (hard copy and electronic) |  |  | / / | / / |  | / / |  |
| 12 | PROJECT FILES SUBMITTED TO ARCHIVIST |  |  | / / | / / |  | / / |  |
| UH PM/Signature |  |  | Date |  |  |  |  |  |