Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 072100 - THERMAL INSULATION

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

- GENERAL

      - SUMMARY

        - Section Includes:

          - Foam-plastic board insulation.

          - Glass-fiber board insulation.

          - Mineral-wool board insulation.

          - Glass-fiber blanket insulation.

      - ACTION SUBMITTALS

        - Product Data:  For each type of product indicated.

        - LEED Submittals (Projects Authorized for LEED certification only):

          - Product Data for Credit MR 4:  For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content.  Include statement indicating cost for each product having recycled content.

      - INFORMATIONAL SUBMITTALS

        - Product test reports.

        - Research/evaluation reports.

- PRODUCTS

Retain types of insulation required in insulation articles below.  Coordinate selections with thicknesses and thermal resistances indicated on Drawings and with HVAC design and energy program.

Surface-burning indexes for products indicated in articles below are examples only; revise to suit Project.  Where insulation is exposed to interior of building or to air spaces in plenums or similar voids, verify requirements for fire-test-response characteristics.

      - FOAM-PLASTIC BOARD INSULATION

Extruded-polystyrene board insulation in first paragraph below is also called "XPS insulation."

        - Extruded-Polystyrene Board Insulation:  ASTM C 578, with maximum flame-spread and smoke-developed indexes of 75 and 450, respectively, per ASTM E 84.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first subparagraph and list of manufacturers below.  See Section 016000 "Product Requirements."

          - Manufacturers:  Subject to compliance with requirements, available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

            - DiversiFoam Products.

            - Dow Chemical Company (The).

            - Owens Corning.

            - Pactiv Building Products Kingspan Group)

Retain one or more of five subparagraphs below.  If retaining more than one, indicate location of each on Drawings or by inserts.

          - Type IV, 25 psi.

Molded-polystyrene board insulation in paragraph below is also called "expanded-polystyrene (EPS)" or "beadboard."

      - GLASS-FIBER BOARD INSULATION

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first paragraph and list of manufacturers below.  See Section 016000 "Product Requirements."

        - Manufacturers:  Subject to compliance with requirements, available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

          - CertainTeed Corporation.

          - Johns Manville.

          - Knauf Insulation.

          - Owens Corning.

Retain "Recycled Content" Paragraph below if required for LEED Credit MR 4.  An alternative method of complying with Credit MR 4 is to include requirement in Section 018113.13 "Sustainable Design Requirements - LEED for New Construction and Major Renovations," Section 018113.16 "Sustainable Design Requirements - LEED for Commercial Interiors," Section 018113.19 "Sustainable Design Requirements - LEED for Core and Shell Development," and Section 018113.23 "Sustainable Design Requirements - LEED for Schools" that gives Contractor the option and responsibility to determine how these credit requirements will be met.

        - Glass-Fiber Board Insulation:  ASTM C 612, Type IA; unfaced, with maximum flame-spread and smoke-developed indexes of 25 and 50, respectively, per ASTM E 84.

Retain one or more of four subparagraphs below.  If retaining more than one, indicate location of each on Drawings or by inserts.

          - Nominal density of 2.25 lb/cu. ft., thermal resistivity of 4.3 deg F x h x sq. ft./Btu x in. at 75 deg F.

      - MINERAL-WOOL BOARD INSULATION

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first paragraph and list of manufacturers below.  See Section 016000 "Product Requirements."

        - Manufacturers:  Subject to compliance with requirements, available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

          - Fibrex Insulations Inc.

          - Isolatek International.

          - Owens Corning.

          - Roxul Inc.

          - Thermafiber.

Retain "Recycled Content" Paragraph below if required for LEED Credit MR 4.  An alternative method of complying with Credit MR 4 is to include requirement in Section 018113.13 "Sustainable Design Requirements - LEED for New Construction and Major Renovations," Section 018113.16 "Sustainable Design Requirements - LEED for Commercial Interiors," Section 018113.19 "Sustainable Design Requirements - LEED for Core and Shell Development," and Section 018113.23 "Sustainable Design Requirements - LEED for Schools" that gives Contractor the option and responsibility to determine how these credit requirements will be met.

        - Unfaced, Mineral-Wool Board Insulation:  ASTM C 612; with maximum flame-spread and smoke-developed indexes of 15 and zero, respectively, per ASTM E 84; passing ASTM E 136 for combustion characteristics.

Retain one or more of three subparagraphs below.  If retaining more than one, indicate location of each on Drawings or by inserts.

          - Nominal density of 6 lb/cu. ft., Type II, thermal resistivity of 4.16 deg F x h x sq. ft./Btu x in. at 75 deg F.

Retain subparagraph below if dark fiber insulation is required, such as behind glass spandrel panels and for other applications exposed to view.

          - Fiber Color:  Darkened, where indicated.

        - Foil-Faced, Mineral-Wool Board Insulation:  ASTM C 612; faced on one side with foil-scrim or foil-scrim-polyethylene vapor retarder; with maximum flame-spread and smoke-developed indexes of 25 and 5, respectively, per ASTM E 84.

Retain one or more of three subparagraphs below.  If retaining more than one, indicate location of each on Drawings or by inserts.

          - Nominal density of 6 lb/cu. ft., Type II, thermal resistivity of 4.16 deg F x h x sq. ft./Btu x in. at 75 deg F.

      - GLASS-FIBER BLANKET INSULATION

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first paragraph and list of manufacturers below.  See Section 016000 "Product Requirements."

        - Manufacturers:  Subject to compliance with requirements, available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

          - CertainTeed Corporation.

          - Guardian Building Products, Inc.

          - Johns Manville.

          - Knauf Insulation.

          - Owens Corning.

Retain "Recycled Content" Paragraph below if required for LEED Credit MR 4.  An alternative method of complying with Credit MR 4 is to include requirement in Section 018113.13 "Sustainable Design Requirements - LEED for New Construction and Major Renovations," Section 018113.16 "Sustainable Design Requirements - LEED for Commercial Interiors," Section 018113.19 "Sustainable Design Requirements - LEED for Core and Shell Development," and Section 018113.23 "Sustainable Design Requirements - LEED for Schools" that gives Contractor the option and responsibility to determine how these credit requirements will be met.

Retain one or more of first five paragraphs below.  If retaining more than one, indicate location of each on Drawings or by inserts.

        - Unfaced, Glass-Fiber Blanket Insulation:  ASTM C 665, Type I; with maximum flame-spread and smoke-developed indexes of 25 and 50, respectively, per ASTM E 84; passing ASTM E 136 for combustion characteristics.

Verify, with manufacturers, availability and relative cost of different facings in first four paragraphs below.

- EXECUTION

      - INSTALLATION, GENERAL

        - Comply with insulation manufacturer's written instructions applicable to products and applications indicated.

        - Install insulation that is undamaged, dry, and unsoiled and that has not been left exposed to ice, rain, or snow at any time.

        - Extend insulation to envelop entire area to be insulated.  Cut and fit tightly around obstructions and fill voids with insulation.  Remove projections that interfere with placement.

        - Provide sizes to fit applications indicated and selected from manufacturer's standard thicknesses, widths, and lengths.  Apply single layer of insulation units to produce thickness indicated unless multiple layers are otherwise shown or required to make up total thickness.

      - INSTALLATION OF CAVITY-WALL INSULATION

Retain this article if masonry insulation is required and is not specified in Section 042000 "Unit Masonry."

        - Foam-Plastic Board Insulation:  Install pads of adhesive spaced approximately 24 inches o.c. both ways on inside face, and as recommended by manufacturer.  Fit courses of insulation between wall ties and other obstructions, with edges butted tightly in both directions.  Press units firmly against inside substrates.

Retain subparagraph below if insulation does not fill cavity.  Coordinate with Section 042000 "Unit Masonry" where ties are specified.

          - Supplement adhesive attachment of insulation by securing boards with two-piece wall ties designed for this purpose and specified in Section 042000 "Unit Masonry."

      - INSTALLATION OF INSULATION FOR FRAMED CONSTRUCTION

        - Apply insulation units to substrates by method indicated, complying with manufacturer's written instructions.  If no specific method is indicated, bond units to substrate with adhesive or use mechanical anchorage to provide permanent placement and support of units.

        - Foam-Plastic Board Insulation:  Seal joints between units by applying adhesive, mastic, or sealant to edges of each unit to form a tight seal as units are shoved into place.  Fill voids in completed installation with adhesive, mastic, or sealant as recommended by insulation manufacturer.

        - Glass-Fiber Blanket Insulation:  Install in cavities formed by framing members according to the following requirements:

          - Use insulation widths and lengths that fill the cavities formed by framing members.  If more than one length is required to fill the cavities, provide lengths that will produce a snug fit between ends.

          - Place insulation in cavities formed by framing members to produce a friction fit between edges of insulation and adjoining framing members.

          - Maintain 3-inch clearance of insulation around recessed lighting fixtures not rated for or protected from contact with insulation.

Retain first subparagraph below for eave ventilation.

Retain first subparagraph below for metal-framed construction.

          - For metal-framed wall cavities where cavity heights exceed 96 inches, support unfaced blankets mechanically and support faced blankets by taping flanges of insulation to flanges of metal studs.

Retain first subparagraph below for wood-framed construction.

        - Miscellaneous Voids:  Install insulation in miscellaneous voids and cavity spaces where required to prevent gaps in insulation using the following materials:

          - Loose-Fill Insulation:  Compact to approximately 40 percent of normal maximum volume equaling a density of approximately 2.5 lb/cu. ft..

          - Spray Polyurethane Insulation:  Apply according to manufacturer's written instructions.

      - INSTALLATION OF INSULATION FOR CONCRETE SUBSTRATES

Verify, with manufacturer, methods of installation of insulation for concrete substrates.  Revise paragraph below to indicate type of concrete substrate, such as architectural precast concrete panels or cast-in-place concrete walls.  Revise to include channels for exposed insulation if required.

        - Install board insulation on concrete substrates by adhesively attached, spindle-type insulation anchors as follows:

          - Fasten insulation anchors to concrete substrates with insulation anchor adhesive according to anchor manufacturer's written instructions.  Space anchors according to insulation manufacturer's written instructions for insulation type, thickness, and application indicated.

Show width of cavity on Drawings.

          - Apply insulation standoffs to each spindle to create cavity width indicated between concrete substrate and insulation.

          - After adhesive has dried, install board insulation by pressing insulation into position over spindles and securing it tightly in place with insulation-retaining washers, taking care not to compress insulation below indicated thickness.

          - Where insulation will not be covered by other building materials, apply capped washers to tips of spindles.

      - INSTALLATION OF CURTAIN-WALL INSULATION

        - Install board insulation in curtain-wall construction where indicated on Drawings according to curtain-wall manufacturer's written instructions.

          - Hold insulation in place by securing metal clips and straps or integral pockets within window frames, spaced at intervals recommended in writing by insulation manufacturer to hold insulation securely in place without touching spandrel glass.  Maintain cavity width of dimension indicated between insulation and glass.

          - Install insulation where it contacts perimeter fire-containment system to prevent insulation from bowing under pressure from perimeter fire-containment system.

END OF SECTION 072100