## Issued
Date | CRDM # | Project # | Bldg. # | Description | Budget | PM | Final Cost | Project Status | Def. Maint., Design Flaw, Energy | CB Catagories | Emerg. | Critical , Deferred, Adaptation,Planned, On-going
2010-05-25 | FY07-0001 | P779440 | 529 | Science Engineering classroom shades | 20167 | Doyle |  |  | Def Maint | Arch | X
2010-06-21 | FY07-0002 | P779444 | 551 | S&R 2 4th flr filter vents | 3306.65 | Madrigal |  |  | Def Maint | HVAC | X
2010-06-21 | FY07-0003 | P779445 | 551 | S&R 2 3rd flr filter vents | 5015.21 | Madrigal |  |  | Def Maint | HVAC | X
2010-06-21 | FY07-0004 | P779446 | 551 | S&R 2 2nd flr filter vents | 3711.62 | Madrigal |  |  | Def Maint | HVAC | X
2010-06-21 | FY07-0005 | P779447 | 551 | S&R 2 1st flr filter vents | 609.3 | Madrigal |  |  | Def Maint | HVAC | X
2010-06-21 | FY07-0006 | P779448 | 532 | Garrison Gym AHU coil replacement | 6601 | Madrigal |  |  | Def Maint | HVAC | X
2010-06-29 | FY07-0007 | P779450 | 586 | Cameron asbestos tiles clean up | 9067 | Oliver |  |  | Def Maint | Safety | X
2010-06-30 | FY07-0008 | P779451 | 516 | E. Cullen exterior window cleaning | 5580 | Davis |  |  | Def Maint | Other
2010-06-30 | FY07-0009 | P779452 | 553 | Welcome Center replace glass panels | 5400 | Davis |  |  | Def Maint | Safety
2010-07-01 | FY07-0010 | P779453 | 550/ 551 | SR1 and SR2 Generator Addition | 32717 | Gill |  |  | Def Maint | Elec | X
2010-07-07 | FY07-0011 | P779454 | 516 | E. Cullen rm 122 reconfiguration | 1555.02 | Martin |  |  | Def Maint | Elec
2010-07-08 | FY07-0012 | P779455 | 553 | Continuing Education AHU-2 | 15446 | Martin |  |  | Def Maint | HVAC | X
2010-07-08 | FY07-0013 | P779456 | 545 | SERC emergency 15 KV switch | 7774.54 | Bartow | 7774.54 | Closed | Def Maint | Elec | X
2010-07-08 | FY07-0014 | P779457 | 593 | HSC dock & corridor door replacement | 20582 | Brungardt |  |  | Def Maint | Arch | X
2010-07-08 | FY07-0015 | P779458 | 593 | HSC elevator hydraulic cylinder replacement | 46263 | Rahurkar |  |  | Def Maint | Elec | X
2010-07-09 | FY07-0016 | P779459 | 551 | S&R 2 lab 228 water damage & mold remediation | 8582.87 | Davis | 8582.87 | Closed | Def Maint | Safety | X
2010-07-09 | FY07-0017 | P779460 | 590 | Hilton Continuing Ed window replacement & re-seal | 6452 | Davis | 6452 | Closed | Def Maint | Arch | X
2010-07-09 | FY07-0018 | P779461 | 551 | S&R 2 restroom fixture replacement | 24953.44 | Jenkins |  |  | Def Maint | Plumbing | X
2011-03-03 | FY07-0019 | P779462 | 551 | S&R 2 hallway abatement & flooring | 96320.61 | Davis |  |  | Def Maint | Safety | X
2010-07-12 | FY07-0020 | P779463 | 581 | Engineering D3 roof assessment | 5000 | Oliver |  |  | Def Maint | Arch
2010-07-12 | FY07-0021 | P779464 | 586 | Cameron emergency mold remediation | 56961.83 | Oliver |  |  | Def Maint | Safety | X
2010-07-12 | FY07-0022 | P779465 | 516 | E. Cullen 502D drain line for roof catch pan | 975 | Oliver | 975 | Closed | Def Maint | Plumbing
2010-07-15 | FY07-0023 | P779466 | 516 | Flooding mechanical rm Cullen fountain | 7100 | Rahurkar |  |  | Def Maint | Plumbing | X
2010-07-21 | FY07-0024 | P779468 | 509 | MD Anderson water in basement, test & clean | 25082.5 | Jenkins |  |  | Def Maint | Safety | X
2010-07-21 | FY07-0025 | P779469 | 593 | HSCA new condensate drains AHU | 7513.7 | Madrigal |  |  | Def Maint | HVAC | X
2010-07-15 | FY07-0026 | P779467 | 585 | GSB water heater tank replacment | 7250 | Wright |  |  | Def Maint | Plumbing
2010-07-21 | FY07-0027 | P779470 | 551 | S&R 2 lab OAHU repairs | 15761.56 | Martin |  |  | Def Maint | HVAC
2010-07-27 | FY07-0028 | P779471 | 516 | E. Cullen 3rd floor lobby lighting | 3320 | Rahurkar |  |  | Def Maint | Arch | X
2010-07-30 | FY07-0029 | P779472 | 550 | S&R 1 emergency vacuume pump | 22182.08 | Madrigal |  |  | Def Maint | Elec
2010-08-04 | FY07-0030 | P779473 | 581 | Engineering D2 envelope assessment | 88485 | Oliver |  |  | Def Maint | Arch |  | Deferred
2010-08-04 | FY07-0031 | P779474 | 509 | MD Anderson exterior façade | 268201.58 | Oliver |  |  | Def Maint | Arch | X
2010-08-05 | FY07-0032 | P779475 | 519 | DPS roof & waterproof analysis | 14189.09 | Davis |  |  | Def Maint | Arch | X
2010-08-18 | FY07-0033 | P779476 | 509 | MD Anderson cooling system | 96250 | Jenkins |  |  | Def Maint | HVAC | X
2010-08-24 | FY07-0034 | P779477 | 499 | Emergency plumbing infrastructure repairs | 14022.53 | Gill |  |  | Def Maint | Plumbing | X
2010-08-24 | FY07-0035 | P779478 | 550 | S&R2 faulty gas valves replacement | 7488.52 | Wright |  |  | Def Maint | Safety | X
2010-08-25 | FY07-0036 | P779479 | 512 | Modular office park restroom awning | 3630 | Davis |  |  | Def Maint | Arch | X
2010-12-17 | FY07-0037 | P779506 | 551 | SDS vent stack smoke test | 2500 | Gill |  |  |  | Plumbing | X | Critical
2011-03-07 | FY07-0038 | P779507 | 545 | SERC exterior glass replacement | 14961 | Wiesman |  |  |  | Safety | X | Critical
2011-01-03 | FY07-0039 | P779508 | 579 | Engineering ADA biomedical lab S-143 | 8100 | Harless |  |  |  | L&M | X | Critical
2011-02-17 | FY07-0040 | P779512 | 547 | PGH rrom sign replacement 4th, 5th and 6th Floor | 6000 | Villareal |  |  |  | Other |  | Deferred
2011-02-24 | FY07-0041 | P779514 | 516 | VP Research Suite Asbestos training | 350 | Howard |  |  |  | L&M | x | Deferred
2011-02-28 | FY07-0042 | P779520 | 516 | Presidents Suite Glass Replacement | 6684.12 | Davis |  |  |  | Other |  | Deferred
2011-10-17 | FY07-0043 | P779616 | 523 & 594 | AGL Complex and EERC high voltage overhead and transformer repairs | 4189.66 | Rahurkar |  |  |  | Elec | x | Critical
2011-10-27 | FY07-0044 | P779618 | 520 | MSM Elevator #2 Hydraulic Piston Replacement | 7986 | Rahurkar |  |  |  | Elec | x | Deferred
2011-11-30 | FY07-0045 | P779632 | 550 | SR1 Domestic Hot Water Return Pipe Repair | 2836 | Rahurkar |  |  |  | Plumbing | x | Critical
2012-01-10 | FY07-0045 | P779646 | 550/502 | SR1 and Old Science Domestic Water Pipe Repair | 3236 | Wright |  |  |  | Plumbing | x | Deferred
2012-01-11 | FY-07-0046 | P779648 | 523 | AGL Building water damage repairs | 1748.76 | Aldridge |  |  |  | Safety | x | Deferred
2012-02-18 | FY07-0047 | P779673 | 598 | CRS Room 1022, Replace Broken Window | 831.6 | Wright |  |  |  | Other | x | Deferred
2012-02-24 | FY07-0048 | P779677 | 701 | TMC AHU#4 replace water coil and control valve | 8250 | Gonzalez |  |  |  | HVAC | x | Deferred
2012-04-02 | FY07-0049 | P779711 | 545 | SERC South Side 1st Floor Window Replacement | 2523 | Wright |  |  |  | Other | x | Critical
2012-04-27 | FY07-0050 | P779727 | 550 | SR1 Hot Water Supply Repair for Fan Coil | 2809 | Wright |  |  |  | Plumbing | x | Deferred
2012-05-10 | FY07-0051 | P779738 | 516 | E. cullen Core Replacements | 750 | Brungardt |  |  |  | Other | x | Planned
2012-05-18 | FY07-0052 | P779744 | 598 | CRS Drinking Water Quality Sample | 325 | Sullivan |  |  |  | Other | x | Planned
2012-05-23 | FY07-0053 | P779746 | 578 | Agnes Arnold Hall Vandalism Repairs | 1088.91 | Bogna |  |  |  | Other |  | Deferred
2012-05-31 | FY07-0054 | P779749 | 516 | E. Cullen exterior Perimeter door core re-key | 308 | Brungardt |  |  |  | Other | x | Critical
2012-07-02 | FY07-0055 | P779770 | 531 | Hofheinz Pavilion ROTC Rm. 18 Leak | 1110 | Villareal |  |  |  | Other | x | Critical
2012-07-05 | FY07-0056 | P779774 | 550 | SR1 Lab 105 heating water leak repair | 5225 | Gonzalez |  |  |  | Plumbing | x | Critical
2012-07-16 | FY07-0057 | P779776 | 538 | Bates Law Replace broken windoe Room 201-M | 825 | Wright |  |  |  | Other | x | Critical
2012-07-16 | FY07-0058 | P779777 | 519 | UHPD Water Damage | 1830.92 | Villareal |  |  |  | Other | x | Critical
2012-08-02 | FY07-0059 | P779782 | 516 | E. Cullen Ligheted Directory Repair | 1977 | Brungardt |  |  |  | Other | x | Deferred
2012-10-31 | FY07-0060 | P779839 | 547 | PGH replace broken glass on Entrance Door | 733.3 | Wright |  |  |  | Other | x | Critical
2013-03-11 | FY07-0061 | P779920 | 564 | Fleming Life Safety Renovations | 7222 | Buehler |  |  |  | Safety | x | Deferred
2013-03-12 | FY07-0062 | P779929 | 585 | GSB SW105 Repair of Coolant System, Brakes and Suspension | 8705.72 | Villareal |  |  |  | HVAC | x | Critical
2013-04-05 | FY07-0063 | P779941 | na | Recertification of SPCC Plan | 2900 | Sullivan |  |  |  | L&M | x | Planned
2013-04-09 | FY07-0064 | P779946 | 547 | PGH Replace Entrance Door Broken Window | 747.64 | Wright |  |  |  | Other | x | Critical
2013-06-20 | FY07-0065 | P779981 | 400 | Cougar Substation 400 at ERP Fencing Repair | 2380 | Villareal |  |  |  | Other | x | Critical
2013-06-20 | FY07-0066 | P779986 | 585 | GSB Electrical Outlets for Hazardous Material storage | 4400 | Rahurkar |  |  |  | L&M | x | Critical
2013-06-20 | FY07-0067 | P779987 | 588 | McElhinney Elevator #1 Pump Motor Repair | 4254.88 | Aguilar |  |  |  | Other |  | Deferred
2013-06-20 | FY07-0068 | P779993 | 564 | Fleming Control Valve Leak AHU #2-34 | 6068.52 | Villareal |  |  |  | HVAC | x | Critical
2013-07-03 | FY07-0069 | P790100 | 509 | MD Anderson Pavers Repair | 2031.36 | Villareal |  |  |  | Other | x | Deferred
2009-10-10 | FY08-0001 | P779344 | 586 | Cameron elevator renovation | 12248.51 | Theriot | 12248.51 | Closed | Def Maint | Elec | X
2009-12-16 | FY08-0002 | P779345 | 547 | PG Hoffman roof repairs | 4900 | Barnes | 4900 | Closed | Def Maint | Arch
2010-01-07 | FY08-0003 | P779347 | 543 | Architecture water seal rm 214 | 30591 | Oliver | 24069.91 | Closed | Def Maint | Arch | X
2010-01-07 | FY08-0004 | P779348 | 503 | Technology loading dock repairs | 17490 | Oliver | 17490 | Closed | Def Maint | Arch | X
2010-01-15 | FY08-0005 | P779350 | 543 | Architecture lighting & life safety | 111812.58 | Oliver |  |  | Def Maint | Safety
2010-01-13 | FY08-0006 | P779273 | 550 | S&R 1 lighting & auditorium seat covers | 1148 | Howard |  |  | Def Maint | Other
2010-01-21 | FY08-0007 | P779286 | 593 | HSC Cooling coil replacement | 22351.35 | Sameer |  |  | Energy | HVAC | X
2010-01-22 | FY08-0008 | P779352 | 509 | MD Anderson library envelope seal | 164190.24 | Oliver |  |  | Def Maint | Arch | X
2010-01-22 | FY08-0009 | P779353 | 701 | TMC Pharmacy roof assessment | 88517.69 | Oliver |  |  | Def Maint | Arch
2010-01-25 | FY08-0010 | P779354 | 543 | Architecture guttering assessment | 124749.48 | Oliver |  |  | Def Maint | Arch
2010-01-26 | FY08-0011 | P779355 | 106 | TLCC Anex roof collapse repair | 34059 | Gill |  |  | Def Maint | Arch | X
2010-01-25 | FY08-0012 | P779356 | 516 | Framework model addition | 24440 | LaMontagne |  |  | Def Maint | Other | X
2010-01-26 | FY08-0013 | P779289 |  | Diesel tank farm landscaping | 4019.25 | Jenkins |  |  | Def Maint | L&M
2010-01-29 | FY08-0014 | P779359 | 537 | Law Ctr water filtration assessment | 75000 | Doyle |  |  | Def Maint | Safety | X
2010-01-29 | FY08-0015 | P779360 | 543 | Architecture brick ledge repairs | 201105.15 | Oliver |  |  | Def Maint | Arch
2010-01-29 | FY08-0016 | P779361 | 516 | E. Cullen drain scope for blockage | 73098.34 | Jenkins |  |  | Def Maint | Arch | X
2010-02-03 | FY08-0017 | P779362 | 509 | MD Anderson guttering assessment | 39351.84 | Oliver |  |  | Def Maint | Arch | X
2010-02-04 | FY08-0018 | P779363 | 578 | Agnes Arnold cooling coils replacement | 8405 | Madrigal |  |  | Energy | HVAC | X
2010-02-04 | FY08-0019 | P779364 | 551 | S&R2 C/W coil replacement | 7125 | Madrigal |  |  | Energy | HVAC | X
2010-02-05 | FY08-0020 | P779365 | 593 | HSC coils, dampers & air grilles | 18000 | Sameer |  |  | Energy | HVAC
2010-04-05 | FY08-0021 | P779366 | 590 | Hilton storm pump controllers | 3800 | Bartow |  |  | Def Maint | Elec
2010-02-05 | FY08-0022 | P779367 | 499 | Campus fire alarm network | 3009 | Sameer |  |  | Def Maint | Safety | X
2010-02-11 | FY08-0023 | P779368 | 524 | Student Svs. Replace elevator flooring | 1895 | Oliver | 1895 | Closed | Def Maint | Safety | X
2010-02-11 | FY08-0024 | P779369 | 586 | Cameron sanitary line replacement | 40461 | Gill |  |  | Def Maint | Plumbing | X
2010-02-12 | FY08-0025 | P779370 | 544 | Cemo tunnel 6" water line leak repair | 1801.38 | Gill |  |  | Def Maint | Plumbing | X
2010-02-22 | FY08-0026 | P779372 | 585-516-532-543 | Asbestos sample testing for 4 buildings | 513.31 | Wright | 513.31 | Closed | Def Maint | L&M
2010-02-22 | FY08-0027 | P779373 | 536 | CPB replace broken window | 632 | Wright | 632 | Closed | Def Maint | Arch | X
2010-02-15 | FY08-0028 | P779374 | 581 | Engineering fire alarm upgrade | 304116 | Jenkins |  |  | Def Maint | Safety
2010-02-15 | FY08-0029 | P779375 | 585 | GSB fire alarm upgrade | 321148 | Jenkins |  |  | Def Maint | Safety
2010-02-23 | FY08-0030 | P779376 | 590 | Hilton sump pump monitor alarms | 5737 | Maal |  |  | Def Maint | Other | X
2010-02-22 | FY08-0031 | P779377 | 520 | School of Music storm drain assessment | 5017 | Gill |  |  | Def Maint | Plumbing | X
2010-03-02 | FY08-0032 | P779378 | 550 | S&R 1 rm 325 ACM abatement | 4133 | Doyle |  |  | Def Maint | L&M | X
2010-03-03 | FY08-0033 | P779380 | 586 | Cameron Human/Hlth kitchen trap repair | 9177.3 | Oliver |  |  | Def Maint | Plumbing | X
2010-03-03 | FY08-0034 | P779381 | 535 | EHRM 2 drainage repair | 43100.29 | Jenkins | 43100.29 | Closed | Def Maint | Plumbing | X
2010-03-03 | FY08-0035 | P779382 | N/A | Campus wide card access license | 4120 | Jenkins |  |  | Def Maint | Safety | X
2010-03-04 | FY08-0036 | P779384 | 532 | Garrison carpet replacement | 4742.28 | Villarreal |  |  | Def Maint | Arch
2010-03-04 | FY08-0037 | P779385 | 585 | GSB rm 177 carpet replacement | 5032.34 | Villarreal |  |  | Def Maint | Arch
2010-03-04 | FY08-0038 | P779386 | N/A | Campus wide sprinkler deficiencies | 21313.32 | Sameer |  |  | Def Maint | L&M | X
2010-04-07 | FY08-0039 | P779411 | 550 | S&R 1 emergency water leaks | 108000 | Oliver |  |  | Def Maint | Plumbing | X
2010-04-07 | FY08-0040 | P779412 | 544 | Cemo Hall water infiltration in tunnel | 53820 | Miller |  |  | Def Maint | Arch | X
2010-04-13 | FY08-0041 | P779413 | 564 | Fleming hot water pipe leaks | 2308 | Wright |  |  | Def Maint | Plumbing | X
2010-04-19 | FY08-0042 | P779414 | 585 | GSB paint booth system replacement | 66000 | Oliver |  |  | Def Maint | Arch
2010-04-20 | FY08-0043 | P779415 | 505 | Optometry animal care plumbing leak study | 4221 | Javaid |  |  | Def Maint | Plumbing | X
2010-04-22 | FY08-0044 | P779416 | 499/ 516 | E Cullen emergency water line repairs | 20737.5 | Oliver |  |  | Def Maint | Plumbing | X
2010-04-22 | FY08-0045 | P779417 | 589 | Fine Arts organ recital hall ceiling repair | 56804 | Doyle |  |  | Def Maint | Arch
2010-04-23 | FY08-0046 | P779418 | 586 | Cameron sewage line investigation | 1915 | Oliver | 1915 | Closed | Def Maint | Plumbing | X
2010-04-23 | FY08-0047 | P779419 | 520 | Moore School of Music structural Review | 28915.36 | Lawrence |  |  | Def Maint | Arch | X
2010-04-22 | FY08-0048 | P779420 | 590 | Hilton (cont. ed) parking garage appraisal | 6669.21 | Lawrence | 6669.21 | Closed | Def Maint | Arch
2010-04-27 | FY08-0049 | P779421 | N/A | Campus wide condition assessment update | 325369 | Norcom |  |  | Def Maint | Other
2010-04-29 | FY08-0050 | P779423 | 578 | Agnes Arnold chill water coil replacement | 3500 | Madrigal |  |  | Energy | HVAC | X
2010-04-29 | FY08-0051 | P779424 | 501 | Roy Cullen repair transfer switch controller | 19825 | Bartow |  |  | Energy | HVAC
2010-05-03 | FY08-0052 | P779425 | 509 | MDA Library emergency water main break | 4707.1 | Wright |  |  | Def Maint | Plumbing | X
2010-04-29 | FY08-0053 | P779426 |  | Engineering complex transfer switch repair | 14860 | Bartow |  |  | Energy | HVAC | X
2010-04-30 | FY08-0054 | P779427 | 551 | S&R 2 replace drainage plumbing in 439 | 5000 | Javaid |  |  | Def Maint | Plumbing
2010-05-04 | FY08-0055 | P779428 | 509 | MDA Library hand dryer project | 53721.8 | Jenkins |  |  | Def Maint | Arch | X
2010-05-04 | FY08-0056 | P779429 | 579 | Engineering asbestos abatement 2nd floor | 5184 | Madrigal |  |  | Def Maint | L&M | X
2010-05-05 | FY08-0057 | P779430 | 579 | Engineering asbestos abatement 3rd floor | 5184 | Madrigal |  |  | Def Maint | L&M | X
2010-05-05 | FY08-0058 | P779431 | 550 | S&R 1 protective structures for loading dock and entrance | 64250 | Doyle |  |  | Def Maint | Safety | X
2010-05-17 | FY08-0059 | P779435 | 529 | SEC emergency lighting configuration | 3703 | Doyle |  |  | Def Maint | Arch | X
2010-05-21 | FY08-0060 | P779437 | 528 | Melcher water leak in crawlspace | 8000 | Madrigal |  |  | Def Maint | Plumbing | X
2010-09-13 | FY08-0061 | P779487 | 590 | Continuing Education ADA Uprades | 3678.13 | Jenkins |  |  | Def Maint | L&M |  | deferred
2010-09-13 | FY08-0062 | P779488 | 529 | SER Classroom JCI HVAC Controllers | 21867.76 | Martin |  |  | Energy | HVAC |  | Planned
2010-09-21 | FY08-0063 | P779490 | 499 | Valve replacement near Lot 19E | 8315 | Gill |  |  | Def Maint | Plumbing | X | Critical
2010-09-27 | FY08-0064 | P779492 | 550 | S&R1 sewer ejector system | 18468 | Wright |  |  | Def Maint | Plumbing | X | Critical
2010-09-29 | FY08-0065 | P779493 | 512 | Mobile office park restroom awning (classroom facility) | 2583.24 | Davis |  |  | Def Maint | Arch |  | Deferred
2010-09-29 | FY08-0066 | P779494 | 528 | MelcherHall handrail repair | 1210.25 | Jenkins |  |  | Def Maint | Arch | X | Critical
2010-10-11 | FY08-0067 | P779495 | 509 | MD Anderson bad odor in basement | 7210 | Gill |  |  | Def Maint | HVAC | X | Critical
2010-10-11 | FY08-0068 | P779496 | 543 | Architecture indoor air quality assessment | 21958.5 | Oliver |  |  | Def Maint | HVAC |  | Deferred
2010-10-12 | FY08-0069 | P779497 | 543 | Architecture 4th floor air balance | 12460 | Martin |  |  | Def Maint | HVAC | X | Deferred
2010-10-14 | FY08-0070 | P779498 | 553 | Welcome Center sewer gas odor investigation | 3240 | Wright |  |  | Def Maint | Plumbing |  | Deferred
2010-10-26 | FY08-0071 | P779499 | 516 | E. Cullen TDLR upgrades, signage, access buttons, handicap parking striping, etc | 8352 | Wiesman |  |  |  | L&M
2010-10-28 | FY08-0072 | P779500 | 507 | Wortham Theater mold & mildew cleaning | 881.8 | Norcom |  |  |  | Other | X | Deferred
2010-12-17 | FY08-0073 | P779506 | 551 | S&R2 SDS vent stack smoke testing | 2500 | Gill |  |  |  | Plumbing | X | Critical
2011-02-28 | FY08-0074 | P779521 | 515 | Chiller 2A motor repair | 75000 | Robinson |  |  |  | HVAC | X | Critical
2012-01-30 | FY08-0075 | P779659 | 564 | Fleming Domestic Hot Water Heater Replacement | 32951.6 | Wright |  |  |  | Plumbing | x | deferred
2012-02-14 | FY08-0076 | P779670 | 531 | Water Damage at ROTC Building | 33179.91 | Rahrukar |  |  |  | Other | x | Critical
2012-03-05 | FY08-0077 | P779689 | 545 | Tunnel Air to SERC Lab | 12430 | Gonzalez |  |  |  | HVAC | x | deferred
2012-06-12 | FY08-0078 | P779755 | 551 | SR2 Removal and Disposal of ACM Materials at the Loading Dock | 1172.76 | Wright |  |  |  | L&M | x | deferred
2012-06-12 | FY08-0079 | P779756 | 578 | Agnes Arnold Replacement fo four broken windows on 4th floor stairwell | 3754.76 | Wright |  |  |  | Other | x | deferred
2012-06-24 | FY08-0080 | P779763 | Various | Classroom Cleaning | 209500 | Mosley |  |  |  | Other |  | Planned
2012-06-27 | FY08-0081 | P779769 | 550 | SR1 Water leak | 3518.9 | Villarreal |  |  |  | Other | x | Critical
2012-07-19 | FY08-0082 | P779778 | 579 | Cullen Eng. Flood | 23971.39 | Villarreal |  |  |  | Other | x | Critical
2012-07-19 | FY08-0083 | P779779 | 550 | SR1 Loading Dock exterior door security | 377 | Villarreal |  |  |  | Other |  | Planned
2012-09-19 | FY08-0084 | P779807 | 540 | Law Library Electrical & Concrete | 3714.04 | Wright |  |  |  | Elec | x | Deferred
2012-09-19 | FY08-0085 | P779808 | 507 | CW Mitchell Ctr. AHU#1 Hot/Chilled Water Coil Replacements | 12851.3 | Gonzalez |  |  |  | HVAC | x | Critical
2012-10-02 | FY08-0086 | P779817 | 547 | PGH Infrastructure Waterline Repair | 4986.73 | Villarreal |  |  |  | Plumbing | x | Critical
2012-10-02 | FY08-0087 | P779818 | 539 | Parking Lot 19C Infrastructure Waterline Repair | 3577.54 | Villarreal |  |  |  | Plumbing | x | Critical
2012-10-16 | FY08-0088 | P779821 | 517 | Cullen Performance Hall Cleaning & Rebuild | 28106.59 | Villarreal |  |  |  | Other | x | Deferred
2012-10-17 | FY08-0089 | P779824 | 499 | Refurbish Campus Directories | 6600 | Wright |  |  |  | Other |  | Planned
2012-10-24 | FY08-0090 | P779829 | 579 | Cullen College of Eng D Lab Renewal S-346 & -348 | 51154.4 | Wright |  |  |  | Other | x | deferred
2012-10-31 | FY08-0091 | P779835 | 531 | Hofheinz Pavilion E& G space ROTC Rm 18 Leak | 1190 | Villarreal |  |  |  | Other | x | Critical
2012-10-31 | FY08-0092 | P779836 | 517 | Cullen Performance Hall Carpet Re-stretching | 1831.7 | Villarreal |  |  |  | Other | x | deferred
2012-10-31 | FY08-0093 | P779837 | 519 | DPS Roof Repair Bullet Hole | 1013.12 | Wright |  |  |  | Other | x | Critical
2012-10-31 | FY08-0094 | P779838 | 528 | Melcher Hall replace broken window Room 110 | 2628.6 | Wright |  |  |  | Other | x | Critical
2012-11-05 | FY08-0095 | P779843 | 587 | Farish Hall Hot Water Coild Abatement, Air Monitoring and Repairs | 4912.6 | Villarreal |  |  |  | L&M | x | deferred
2012-11-05 | FY08-0096 | P779844 | 590 | Hilton Continuing Education Room 185 Broken Window | 1551.64 | Wright |  |  |  | Other | x | Deferred
2012-11-06 | FY08-0097 | P779845 | 578 | Agnes Arnold Replace Broken Window | 867.64 | Wright |  |  |  | Other | x | deferred
2012-11-07 | FY08-0098 | P779849 | 531 | Hofheinz water damage hallway 80C | 4894.52 | Villarreal |  |  |  | Other | x | Critical
2012-11-07 | FY08-0099 | P779850 | 517 | Cullen Performance Hall Water Leak Rm. 45 | 9531.09 | Villarreal |  |  |  | Plumbing | x | Critical
2012-11-10 | FY08-0100 | P779851 | 516 | E. Cullen Office Painting, Renewal Rooms 502,A,B,C,D,E,V,U.T,S & X | 8585.5 | Wright |  |  |  | Other | x | Deferred
2012-11-12 | FY08-0101 | P779855 | 547 | PGH Replace VFD on Air Handler Unit | 11867.9 | Rahrukar |  |  |  | HVAC | x | Deferred
2012-11-26 | FY08-0102 | P779859 | 550 | SR1 Broken Window 4th Floor Spandrel | 4110.64 | Wright |  |  |  | Other | x | Critical
2012-11-28 | FY08-0103 | P779861 | 581 | Cullen College of Eng. 2 Room W402 Abatement and Air Monitoring | 3492.89 | Villarreal |  |  |  | L&M | x | Deferred
2012-11-30 | FY08-0104 | P779863 | 588 | McElhinney Flooring Renewal Rooms 315,317,317-A,320 & 323 | 10213.28 | Wright |  |  |  | Other | x | Deferred
2012-11-30 | FY08-0105 | P779864 | 588 | McElhinney Flooring Renewal Suite 306 | 9198.28 | Wright |  |  |  | Other | x | deferred
2012-11-30 | FY08-0106 | P779865 | 542 | South Park Annex Replace Broken Glass Front Door | 681.64 | Wright |  |  |  | Other | x | Critical
2012-12-04 | FY08-0107 | P779866 | 551 | SRII Replace Broken Window 1st Floor South | 975.64 | Wright |  |  |  | Other | x | Critical
2013-02-01 | FY08-0108 | P779901 | 550 | SR1 Exterior Repair | 8672.67 | Villarreal |  |  |  | Arch | x | Critical
2013-02-05 | FY08-0109 | P779902 | 516 | E. Cullem Rm 205B Carpet, Painting and Renewal | 3976.5 | Wright |  |  |  | Other | x | deferred
2013-02-05 | FY08-0110 | P779903 | 502 | Science Building Raccon Cleanup | 3390.39 | Villarreal |  |  |  | Other | x | Deferred
2013-02-06 | FY08-0111 | P779905 | 515 | Central Plant Emergency Generator Repair Phase 1 | 940 | Villarreal |  |  |  | Elec | x | deferred
2013-02-04 | FY08-0112 | P779906 | 505 | Optometry Overhead Door Repair | 2102.87 | Villarreal |  |  |  | Other | x | deferred
2013-03-26 | FY08-0113 | P779935 | 517 | Cullen Perf. Hall Roof and Repair | 8546.14 | Anderson |  |  |  | Arch. | x | Deferred
2013-03-29 | FY08-0114 | P779950 | 538 | TU2 Plumbing Project | 7359.67 | Villarreal |  |  |  | Plumbing | x | deferred
2013-04-12 | FY08-0115 | P779951 | 585 | GSB Perimeter Fence and Install bollards | 16431.46 | Mathis |  |  |  | Other | x | deferred
2013-04-03 | FY08-0116 | P779954 | 550 | SR1 Rooms 309 A,B & C Painting Renewal | 12063 | Wright |  |  |  | Other | x | deferred
2013-05-06 | FY08-0117 | P779956 | 581 | Cullen College of Eng. Classroom E319 Carpet Renewal Replacement | 3435.64 | Wright |  |  |  | Other | x | Deferred
2013-05-06 | FY08-0118 | P779957 | 553 | Welcome Ctr. E&G Space window replacement by Elevator Shaft | 1624.64 | Wright |  |  |  | Other | x | Critical
2013-05-06 | FY08-0119 | P779958 | 590 | Hilton COntinuing Education W&G Office Space Painting Renewal | 9303.6 | Wright |  |  |  | Other | x | Deferred
2013-05-06 | FY08-0120 | P779959 | 581 | Cullen College of Eng. Classroom W320 Carpet Reneal | 3435.64 | Wright |  |  |  | Other | x | Deferred
2013-05-09 | FY08-0121 | P779962 | 522 | Gas Leak Repair near CRWC | 22894.78 | Villarreal |  |  |  | Safety | x | Critical
2013-05-14 | FY08-0122 | P779966 | 596&587 | Elevator Repairs for Computing Center & Farish Hall | 17485.32 | Rahurkar |  |  |  | Other | x | Deferred
2013-05-23 | FY08-0123 | P779968 | 509 | MD Anderson Area 260 Water Damage Project | 4331.7 | Villarreal |  |  |  | Other | x | Critical
2013-05-25 | FY08-0124 | P779970 | 564 | Fleming Life Safety Renovations | 21766 | Buehler |  |  |  | Other | x | Critical
2013-06-20 | FY08-0125 | P779982 | 550 | SR1 7th Floor Flooding | 15306.39 | Villarreal |  |  |  | Other | x | Critical
2013-06-20 | FY08-0126 | P779983 | 550 | SR1 2nd Floor Chase Abatement | 3126.2 | Villarreal |  |  |  | L&M | x | Critical
2013-06-20 | FY08-0127 | P779988 | 578 | Agnes Arnold Ground Floor water valve replacement | 6635 | Hanley |  |  |  | Plumbing | x | Critical
2010-01-04 | FY09-0001 | P779346 | 587 | Farish Hall classroom 232 doors | 4748.75 | Barnes |  |  | Def Maint | Arch | X
2010-01-08 | FY09-0002 | P779349 | 543 | Architecture Enviro investigation | 97785.36 | Oliver | 97785.36 | Closed | Def Maint | L&M
2010-01-15 | FY09-0003 | P779351 | 543 | Architecture leak investigation | 211004.46 | Oliver | 132529.87 | Closed | Def Maint | Arch
2010-03-04 | FY09-0004 | P779383 | 543 | Architecture fire alarm replacement | 324632.5 | Sameer |  |  | Def Maint | L&M
2010-03-09 | FY09-0005 | P779387 | N/A | Campus wide Basic card access controls | 104599.88 | Jenkins |  |  | Def Maint | Safety | X
2010-03-10 | FY09-0006 | P779388 | 551 | S&R 2 trench drain cleaning | 3054.24 | Barnes |  |  | Def Maint | Plumbing
2010-03-12 | FY09-0007 | P779389 | 499 | Lynn Eusan park sanitary line replace | 29701 | Gill |  |  | Def Maint | Plumbing | X
2010-03-22 | FY09-0008 | P779390 | 524 | Student Svs. Bldg new fire alarm system | 116744 | Doyle |  |  | Def Maint | Safety
2010-03-23 | FY09-0009 | P779391 | N/A | Campus wide fire alarm network breakout | 63758.44 | Hajecate |  |  | Def Maint | Safety
2010-03-24 | FY09-0010 | P779392 | N/A | Campus wide infrastructure study | 145950 | Sameer |  |  | Def Maint | Other | X
2010-03-25 | FY09-0011 | P779393 | 549 | Modify lighting for projection in Social Work rm 101 auditorium | 8121.8 | Jenkins |  |  | Def Maint | Arch
2010-03-25 | FY09-0012 | P779394 | 549 | Modify lighting for projection in Social Work rm 102 auditorium | 11339.95 | Jenkins |  |  | Def Maint | Arch | X
2010-03-25 | FY09-0013 | P779396 | 506 | Communications replace airhandling units | 324850 | Ruck |  |  | Def Maint | Arch | X
2010-03-25 | FY09-0014 | P779397 | 530 | Fire hydrant replacement near Robertson stadium | 7485 | Oliver | 7485 | Closed | Def Maint | L&M | X
2010-03-25 | FY09-0015 | P779398 | 516 | E. Cullen restroom modifications for TDLR | 400 | Howard |  |  | Def Maint | L&M
2010-03-31 | FY09-0016 | P779399 |  | Arch & Eng. Study of E. Cullen, PGH, Fleming & Agnes Arnold | 51346 | Norcom |  |  | Def Maint | Arch
2010-03-31 | FY09-0017 | P779400 | 516 | E. Cullen 3rd flr air return obstruction | 7360 | Martin |  |  | Energy | HVAC | X
2010-04-01 | FY09-0018 | P779401 | 516 | E.Cullen 1st flr rm 125, door and fire alarm devices | 2365.27 | Norcom | 2365.27 | Closed | Def Maint | L&M | X
2010-03-31 | FY09-0019 | P779402 | 509 | MD Anderson design MEP systems | 72460.5 | Jenkins |  |  | Def Maint | Arch | X
2010-04-01 | FY09-0020 | P779403 | 528 | Melcher Hall recycling center | 1920.23 | Wright |  |  | Def Maint | Arch
2010-04-01 | FY09-0021 | P779404 | 505 | Optometry termite treatment | 17030.16 | Wright |  |  | Def Maint | Arch | X
2010-03-31 | FY09-0022 | P779405 | 525 | Health Ctr replace controller transfer switch | 1730.4 | Bartow |  |  | Def Maint | Elec | X
2010-03-31 | FY09-0023 | P779406 | 505 | Optometry replace controller transfer switch | 2438.01 | Bartow |  |  | Def Maint | Elec | X
2010-03-31 | FY09-0024 | P779408 | 515 | Locate covered manhole near Justin Dart | 1771.6 | Bartow |  |  | Def Maint | Other | X
2010-04-01 | FY09-0025 | P779409 | 516 | E. Cullen rm 209 & 27 recarpet | 768 | Jenkins |  |  | Def Maint | Arch | X
2010-04-01 | FY09-0026 | P779410 | N/A | Campus wide detention bank map updates | 8500 | LaMontagne |  |  | Def Maint
2010-05-01 | FY09-0027 | P779433 | 501 | R. Cullen HVAC repairs & fire damper install | 3675 | Oliver |  |  | Energy | HVAC | X
2010-05-12 | FY09-0028 | P779434 | 520 | Moores Music handrail install | 20994.05 | Jenkins |  |  | Def Maint | Arch | X
2010-05-21 | FY09-0029 | P779438 | 543 | Architecture AHU drain pan and piping | 3181.22 | Madrigal |  |  | Def Maint | HVAC | X
2010-05-21 | FY09-0030 | P779439 | 551 | SR II lab 329 replace faulty HVAC controls | 7120 | Martin |  |  | Def Maint | HVAC | X
2010-05-27 | FY09-0031 | P779441 | N/A | Utility infrastructure study for entire campus chilled water & steam | 51500 | Sameer |  |  | Energy | Other
2010-06-01 | FY09-0032 | P779442 | 515 | 8" water valve replacement Central Plant | 4785 | Gill |  |  | Def Maint | Plumbing
2010-06-10 | FY09-0033 | P779443 | 516 | E. Cullen 1st floor hallway reflooring | 26673.28 | Davis |  |  | Def Maint | Arch | X
2010-06-23 | FY09-0034 | P779449 |  | Irrigation loop at OB woods | 10924.95 | Smith |  |  | Def Maint | Plumbing | X
2010-08-04 | FY09-0035 | P779474 | 509 | MD Anderson exterior façade | 200000 | Oliver |  |  | Def Maint | Arch | X
2011-03-08 | FY09-0036 | P779523 |  | Fire Extinguisher replacement | 11350 | Tremont |  |  |  | Safety | x | On-going
2011-03-21 | FY09-0037 | P779526 | 564 | Fleming, Domestic Hot Water Repair | 2767 | Wright |  |  |  | Plumbing | X | Critical
| FY09-0038 | P779530 | 579 | Cullen Engineering Limited Asbestos Training | 383 | Wiesman |  |  |  | L&M |  | Deferred
2012-04-02 | FY09-0039 | P779710 | 529 | SEC Classroom Marker Board Replacement | 8538 | Wright |  |  |  | Other |  | Deferred
2012-04-13 | FY09-0040 | P779714 | 578 | Agnes Arnold Room 644 Window Leak Repair | 6819 | Wright |  |  |  | Other | x | Critical
2012-04-13 | FY09-0041 | P779715 | 523 | Science & Engineering Annex Room 120 Window Replacement | 949 | Wright |  |  |  | Other | x | Critical
2012-04-13 | FY09-0042 | P779716 | 499 | E. Cullen Blvd. Sign Replacement | 8113 | Wright |  |  |  | Other |  | Critical
2012-04-13 | FY09-0043 | P779717 | 542 | South Park Annex Removal and Disposal of 11 Asbestos Containing Doors | 1049 | Wright |  |  |  | Other | x | Critical
2012-04-30 | FY09-0044 | P779724 | 542 | South Park Annex Replacement of Garage Door | 2239 | Wright |  |  |  | Other | x | Deferred
2012-05-02 | FY09-0045 | P779734 | 550 | SR1 Removal of Loose Stair Treads | 1844 | Wright |  |  |  | Safety | x | Deferred
2012-05-07 | FY09-0046 | P779736 | 550 | SR1 Heating and Humidity Control Heat Exchanger | 40429.65 | Gonzalez |  |  |  | Other | x | Deferred
2012-05-18 | FY09-0047 | P779743 | 547 | P Guthrie Hall Elevator Drive Controller | 8100 | Aguilar |  |  |  | Other | x | Deferred
2012-11-28 | FY09-0048 | P779860 | 550 | SR! ACM Removal, Flooring and Plumbing Repair | 34751.88 | Villarreal |  |  |  | Other | x | Deferred
2012-12-04 | FY09-0049 | P779867 | 581 | Engineering Flood Domestic Water Pipe Break 4th Floor | 28779.27 | Wright |  |  |  | Plumbing | x | Critical
2012-12-04 | FY09-0050 | P779868 | 499 | Campus Backflow Preventer Project | 58361.76 | Villarreal |  |  |  | Plumbing |  | Deferred
2013-02-11 | FY09-0051 | P779908 | 590 | Hilton E&G Space Broken Window Rm 245 | 813.64 | Wright |  |  |  | Other | x | Critical
2013-05-30 | FY09-0052 | P779972 | 550 | SR1 Master Re-Key MCR1 core conversion | 46812 | Brungardt |  |  |  | Other |  | Deferred
2013-06-25 | FY09-0053 | P779994 | 547 | PGH Room 310 Flooring and Painting Renewal | 8326.32 | Wright |  |  |  | Other | x | Deferred
2010-04-26 | FY10-0001 | P779422 | N/A | Campus Design Guideline Standards | 225000 | Yancey |  |  | Other | Arch
2010-05-14 | FY10-0002 | P779436 | 564 | Fleming classrooms #154, 160 & 162 | 423881 | Davis |  |  | Def Maint | Arch | X
2010-08-04 | FY10-0003 | P779474 | 509 | MD Anderson exterior façade | 842638.42 | Oliver |  |  | Def Maint | Arch | X
2013-01-16 | FY10-0004 | P779891 | 509 | MD Anderson Library ACM Flooring Project | 4400.41 | Villarreal |  |  |  | Other | x | Deferred
2013-01-28 | FY10-0005 | P779893 | 588 | McElhinney Rm 337 Abatement, Carpet Renewal | 5482.4 | Wright |  |  |  | L&M | x | Deferred
2013-01-28 | FY10-0006 | P779894 | 588 | McElhinney Ste. 332 Abatement & Carpet Renewal | 11841.5 | Wright |  |  |  | L&M | x | Deferred
2013-01-28 | FY10-0007 | P779895 | 590 | Hilton Continuing Education Rm 116 Broken Window | 978.6 | Wright |  |  |  | Other | x | Critical
2013-01-28 | FY10-0008 | P779896 | 585 | GSB EHS Painting Renewal | 5610 | Wright |  |  |  | Other |  | Deferred
2013-01-30 | FY10-0009 | P779898 | 550 | SR1 Rm 423 Door Repair | 2539.9 | Wright |  |  |  | Other | x | Deferred
2013-01-30 | FY10-0010 | P779900 | 550 | SR1 Rm 401 Door Repair | 3763.1 | Wright |  |  |  | Other | x | Deferred
2013-02-14 | FY10-0011 | P779912 | 542 | SPA Overhead Door Repair | 5114.03 | Villarreal |  |  |  | Other | x | Critical
2013-02-14 | FY10-0012 | P779913 | 701 | TMC Pharmacy Generator Replacement | 23076 | Rahurkar |  |  |  | Electrical | x | Deferred
2013-02-14 | FY10-0013 | P779914 | 551 | SR2 Greenhouse Rooftop Repair | 29147.73 | Villarreal |  |  |  | Other | x | Critical
2013-02-14 | FY10-0014 | P779915 | 564 | Fleming Water Intrusion | 12703.46 | Villarreal |  |  |  | Arch | x | Critical
2013-02-20 | FY10-0015 | P779916 | 551 | Backflow Replacement SR2 | 2250 | Morris |  |  |  | Plumbing |  | Deferred
2013-02-18 | FY10-0016 | P779918 | na | On Call Roof Program | 70000 | Oliver |  |  |  | Arch |  | Deferred
2013-03-14 | FY10-0017 | P779925 | 704 | TMC Pharmacy Generator Rental | 12808.4 | Villarreal |  |  |  | Other | x | Critical
2013-05-23 | FY10-0018 | P779969 | na | Water Bottle Filling Stations | 78700 | Brokhin |  |  |  | Other |  | Deferred
2013-06-20 | FY10-0019 | P779980 | 590 | Hilton Chill Water Pipe Leak | 66260.77 | Villarreal |  |  |  | HVAC | x | Critical
2013-06-24 | FY10-0020 | P779989 | 509 | MD Anderson Library 2nd Floor Lobby Broken Window | 642.64 | Wright |  |  |  | Other | x | Critical
2013-06-24 | FY10-0021 | P779990 | 534 | Heyne South Entrance Doors, Replace Broken Window Panel | 671.64 | Wright |  |  |  | Other | x | Critical
2013-06-24 | FY10-0022 | P779991 | 503 | Tech Annex Move and Clean | 5149.86 | Villarreal |  |  |  | Other | x | Deferred
2010-08-23 | FY11-0001 | P779481 | 515 | FY11 CRDM Central Plant Expansion | 4996670 | Bueller |  |  | Def Maint | Other | X
2010-09-09 | FY11-0002 | P779486 | N/A | Main Campus Utility Documentation | 335280 | Ivy |  |  | Energy | Other |  | Planned
2010-11-03 | FY11-0003 | P779502 | 524 | Student Svs. Bldg replace 2 roof skylights that are leaking in rain | 3509.32 | Jenkins |  |  |  | Arch | X | Critical
2010-11-15 | FY11-0004 | P779503 | 532 /533 | Hallway floor abatement at Melcher & Garrison | 52363.46 | Wiesman |  |  |  | Arch |  | Deferred
2010-11-30 | FY11-0005 | P779504 | N/A | Campus wide Honeywell controller replacement | 14789.73 | Martin |  |  |  | HVAC | X | Deferred
2010-12-22 | FY11-0006 | P779509 | 509 | MD Anderson water damage carpet replacement | 28590.34 | Jenkins |  |  |  | Safety | X | Critical
2011-01-24 | FY11-0007 | P779510 | 509 | MD Anderson Library Exterior Assessment | 54105.9 | Oliver |  |  |  | Arch |  | Planned
2011-02-24 | FY11-0008 | P779513 | 549 | Social Work Fire Pump Replacement | 24837.4 | Hajecate |  |  |  | Safety | x | Planned
2011-02-24 | FY11-0009 | P779515 | N/A | Water, Sanitary, Storm Master Plan | 170000 | Ivy |  |  |  | Other |  | Deferred
2011-02-24 | FY11-0010 | P779516 | N/A | Transportation Master Plan | 140000 | Ivy |  |  |  | Other |  | Deferred
2011-02-24 | FY11-0011 | P779517 | 571 | Y Building Study and Design Phase I and II | 206485.39 | Norcom |  |  |  | Other |  | Facility
2011-02-24 | FY11-0012 | P779518 | N/A | Campus Wide Ruptured Coil Replacement | 356895 | Oliver |  |  |  | HVAC | x | Critical | Changed to Ledger 2 in anticipation of Insurance claim
2011-02-28 | FY11-0013 | P779519 | 550 /551 | Installation of 1500kW, 1875kVA Generator in addition to SR1 & SR2 | 246990.29 | Kapileshwari |  |  |  | Elec | x | Facility
2011-03-04 | FY11-0014 | P779522 | 579 | Cullen Engineering Flooring Replacement | 11899.33 | Davis |  |  |  | L&M | x | Deferred
2011-03-08 | FY11-0015 | P779524 | 579 | Cullen Engineering Fire Suppression Pump Design and Installation | 379065.75 | Kapileshwari |  |  |  | Safety | x | Critical
2011-03-17 | FY11-0016 | P779525 | 505 | Optometry Exterior façade study | 20600 | Norcom |  |  |  | Other |  | Facility
2011-03-21 | FY11-0017 | P779527 | 515 | Chiller 2A Motor Rewind | 158467.63 | Gill |  |  |  | HVAC | X | Critical
2011-03-25 | FY11-0018 | P779528 | 507 | Wortham Theater Room 100M-100D Door Replacement | 28750.7 | Brungardt |  |  |  | Other |  | Deferred
2011-04-06 | FY11-0019 | P779529 | 543 | College of Architecture Mold Remediation | 6407.12 | Oliver |  |  |  | L&M | x | Deferred
2011-04-07 | FY11-0020 | P779531 | N/A | FCA Phase 1 and 2 | 95176.33 | Norcom |  |  |  | Other |  | Facility
2011-04-14 | FY11-0021 | P779532 | 499 | Campus Fire Hydrant #9 | 9717.28 | Oliver |  |  |  | Safety | x | Facility
2011-04-14 | FY11-0022 | P779533 | 501 | Roy Cullen Exterior Façade Study | 56650 | Connell |  |  |  | Arch |  | Deferred
2011-04-15 | FY11-0023 | P779534 | N/A | U of H Generator & ATS Remote Operation | 49965 | Gill |  |  |  | Elec |  | Facility
2011-04-19 | FY11-0024 | P779535 | 545 | SERC Transite Pipe Repair | 6776.64 | Ivy |  |  |  | Plumbing | x | Deferred
2011-04-20 | FY11-0025 | P779536 | 551 | SR2 Animal Care HVAC Commissioning | 112315.32 | Oliver |  |  |  | HVAC | x | Deferred
2011-04-20 | FY11-0026 | P779537 | 555 | Law Residence Hall Sewer Line Replacement | 10235.76 | Gill |  |  |  | Plumbing | x | Deferred
2011-04-20 | FY11-0027 | P779538 | 585/586 | GSB/Cameron Hot Water boilers/HVAC systems | 27604 | Gill |  |  |  | Plumbing | x | Deferred
2011-04-20 | FY11-0028 | P779539 | 516 | E Cullen/Campus wide Floodbreak repair & annual Maintenance inspection | 11540 | Gill |  |  |  | Other | x | Planned
2011-04-20 | FY11-0029 | P779540 | 550 | SR1 Window replacement | 3211 | Wright |  |  |  | Other | x | Critical
2011-04-20 | FY11-0030 | P779541 | 516 | E Cullen Window replacement Rooms 6 & 8 | 1431 | Wright |  |  |  | Other | x | Critical
2011-05-03 | FY11-0031 | P779542 | 516 | E Cullen Install ADA Automatic Door Opener | 4074.5 | Wright |  |  |  | L&M |  | Facility
2011-05-03 | FY11-0032 | P779543 | 590 | Hilton Window Replacement First Floor West | 1873 | Wright |  |  |  | Other | x | Critical
2011-05-03 | FY11-0033 | P779544 | 593 | Houston Science Center Window Replacement | 1928.2 | Wright |  |  |  | Other | x | Critical
2011-05-03 | FY11-0034 | P779545 | 590 | Hilton (E&G) Controls Upgrade | 302511 | Wright |  |  |  | HVAC |  | Facility
2011-05-03 | FY11-0035 | P779546 | 524 | Health Center Room 126 Window Replacement | 654 | Wright |  |  |  | Other | x | Critical
2011-05-03 | FY11-0036 | P779547 | 586 | Cameron Smoke Test Sanitary Lines/Video Inspection/Hydro-jet cleaning | 46448 | Gill |  |  |  | Plumbing | x | Deferred
2011-05-03 | FY11-0037 | P779548 | 550 | Repair breaker at SR1 | 72000 | Rahurkar |  |  |  | Elec | x | Deferred
2011-05-13 | FY11-0038 | P779549 | 581 | Cullen Engineering W409 Carrier Roof Top replacement | 23811.25 | Oliver |  |  |  | HVAC | x | Planned
2011-05-13 | FY11-0039 | P779550 | N/A | Entrance 14 Curb modifications | 19071.79 | Ivy |  |  |  | Other | x | Deferred
2011-05-19 | FY11-0040 | P779551 | 564 | Fleming Domestic Hot Water Pipe Repair | 4148 | Wright |  |  |  | Plumbing | x | Critical
2011-05-19 | FY11-0041 | P779552 | N/A | Exterior Concrete Stair repair | 66346.84 | Connell |  |  |  | Other |  | Deferred
2011-05-19 | FY11-0042 | P779553 | 579 | Cullen Eng. Chill Water Leak Water Mitigation and Recovery | 20682.83 | Wiesman |  |  |  | HVAC | x | Critical
2011-05-19 | FY11-0043 | P779554 | 499 | Campus Wide Fire Extinguisher Replacement | 14986.5 | Oliver |  |  |  | Other | x | Deferred
2011-06-01 | FY11-0044 | P779556 | N/A | UH Campus Room Signs | 18000 | Wanjagi |  |  |  | Other | x | Deferred
2011-06-01 | FY11-0045 | P779557 | 590 | Water Leak outside Continuing Education Building | 15148 | Gill |  |  |  | Plumbing | x | Critical
2011-06-01 | FY11-0046 | P779558 | 516 | E. Cullen Basement Floor Repair | 40640.31 | Jenkins |  |  |  | Other |  | Deferred
2011-06-01 | FY11-0047 | P779559 | 551 | SR2 Animal Care Sanitary Clean Outs Installation | 11093 | Gill |  |  |  | Plumbing | x | Facility
2011-06-01 | FY11-0048 | P779560 | 543 | College of Architecture Visible Mold Remediation | 107789.98 | Oliver |  |  |  | Safety | x | Critical
2011-06-23 | FY11-0049 | P779562 | 523 | AGL Domestic Water Leak | 52957.92 | Gill |  |  |  | Plumbing | x | Critical
2011-06-23 | FY11-0050 | P779563 | 593 | HSC Mold Remediation in Dark Room | 9011.05 | Jenkins |  |  |  | Other | x | Deferred
2011-06-23 | FY11-0051 | P779564 | 585 | GSB 1st Floor Restroom compliance renovation | 13518.75 | Jenkins |  |  |  | L&M |  | Facility
2011-06-30 | FY11-0052 | P779565 | 586 | Cameron cleanup of abandoned grease trap | 5847.84 | Gill |  |  |  | Other | x | Deferred
2011-07-12 | FY11-0053 | P779566 | 515 | Central Plant Chiller #4 York 4000 Tom Emergency Service | 124452.31 | Gill |  |  |  | HVAC | x | Deferred
2011-07-13 | FY11-0054 | P779567 | 499 | Main Leak by Moody/Hilton area | 161695 | Gill |  |  |  | Plumbing | x | Critical
2011-07-13 | FY11-0055 | P779568 | 512 | Trailer Village Utility Disconnects and Decking Adjustments | 5665 | Ivy |  |  |  | Elec |  | Facility
2011-07-13 | FY11-0056 | P779569 | 516 | E. Cullen Domestic Booster Pumps | 13143 | Gill |  |  |  | Plumbing | x | Deferred
2011-07-18 | FY11-0057 | P779570 | 581 | Domestic Water leak on northside of Engineering | 2603.94 | Gill |  |  |  | Plumbing | x | Critical
2011-07-28 | FY11-0058 | P779571 | 507 | Wortham Theater Awning Removal | 1030 | Ivy |  |  |  | Other | x | Deferred
2011-07-06 | FY11-0059 | P779572 | 578 | Agnes Arnold Hall Classroom 104, 106, 108, and 110 Refresh | 176505.94 | Connell |  |  |  | Other | x | Deferred
2011-08-12 | FY11-0060 | P779575 | 528 | Melcher Hall Exterior Handrails | 53154.36 | Jenkins |  |  |  | Safety | x | Critical
2011-08-26 | FY11-0061 | P779577 | 586 | Cameron Vent Piping for Water heaters & emergency generator | 26944 | Gill |  |  |  | HVAC | x | Critical
2011-08-30 | FY11-0062 | P779578 | 555 | Law Residence Hall water main leak | 20630 | Gill |  |  |  | Plumbing | x | Critical
2011-09-06 | FY11-0063 | P779579 | 509 | MDA Library 8" Ductile iron water main break | 2664 | Gill |  |  |  | Plumbing | x | Critical
2011-09-06 | FY11-0064 | P779580 | 499 | Parking Lot 19-D 8" water main break | 3326 | Gill |  |  |  | Plumbing | x | Critical
2011-09-06 | FY11-0065 | P779581 | 539 | Krost Hall 6" water main break | 3138.63 | Gill |  |  |  | Plumbing | x | Critical
2011-09-06 | FY11-0066 | P779582 | 527 | Science and Engineering Classroom Shade Protection Rails | 53652.09 | Connell |  |  |  | Other |  | Deferred
2011-09-06 | FY11-0067 | P779583 | 579 | Cullen Engineering ADA/TAS Compliancy | 30790.03 | Oliver |  |  |  | L&M | x | Deferred
2011-09-07 | FY11-0068 | P779584 | 499 | 8" water main break in front of SR1 | 8461 | Gill |  |  |  | Plumbing | x | Critical
2011-09-12 | FY11-0069 | P779585 | 551 | SR2 resolve ongoing Termite problems, Dr. F. Lamar Pritchards Office Rm. #141D | 5799.07 | Tolbert |  |  |  | Other | x | Deferred
2011-09-12 | FY11-0070 | P779586 | 543 | College of Architecture Phase 3 of Indoor Air Quality Issues | 45633 | Oliver |  |  |  | HVAC |  | On-Going
2011-09-12 | FY11-0071 | P779587 | 543 | College of Architecture Emergency Response Sprinkler Head Leak | 6577.52 | Oliver |  |  |  | Plumbing | x | Critical
2011-09-16 | FY11-0072 | P779588 | 579 | Cullen Engineering Mechanical Room Containment Phase 1 | 25970 | Oliver |  |  |  | Other | x | Critical
2011-09-16 | FY11-0073 | P779589 | 549 | Graduate School of Social Work Water Damaged Carpet Removal & Replacement | 9516.15 | Jenkins |  |  |  | Other |  | Deferred
2011-09-14 | FY11-0074 | P779590 | 508 | College of Technology ADA Automatic Doors | 3975 | Jenkins |  |  |  | L&M
2011-09-19 | FY11-0075 | P779591 | 542 | South Park Annex East Awning Replacement | 46932.49 | Ivy |  |  |  | Other |  | Facility
2011-09-20 | FY11-0076 | P779592 | 551 | SR2-Animal Care - Hydro Jet clean gravity sanitary drain in Basement | 7220 | Gill |  |  |  | Plumbing | x | On-Going
2011-09-20 | FY11-0077 | P779593 | 499 | 4" irrigation pipe replacement east side of Heyne | 5120.59 | Gill |  |  |  | Plumbing | x | Critical
2011-09-20 | FY11-0078 | P779594 | 494 | Agnes Arnold Auditorium - water main break | 15308.85 | Gill |  |  |  | Plumbing | x | Critical
2011-09-20 | FY11-0079 | P779595 | 499 | 6" Water main break at Entrance of Law Center | 3676.65 | Gill |  |  |  | Plumbing | x | Critical
2011-09-23 | FY11-0080 | P779596 | 499 | Water leak by parking lot 19-E | 3406.25 | Gill |  |  |  | Plumbing | x | Critical
2011-09-23 | FY11-0081 | P779597 | 594 | Water leak in front of engineering building | 3885.86 | Gill |  |  |  | Plumbing | x | Critical
2011-09-23 | FY11-0082 | P779598 | 588 | New domestic and fire water lines for McElhinney bldg. | 11968 | Gill |  |  |  | Plumbing | x | Deferred
2011-09-27 | FY11-0083 | P779599 | 551 | SR2 AHU#4-D replace hot, Chilled water coils | 6790.3 | Rahurkar |  |  |  | HVAC | x | Deferred
2011-09-29 | FY11-0084 | P779600 | 543 | College of Architecture Room 206 Water Damage | 27421.85 | Simmons |  |  |  | Other | x | Critical
2011-10-03 | FY11-0085 | P779601 | 545 | SERC 1st floor, North Side window replacement | 3190 | Wright |  |  |  | Other | x | Critical
2011-10-03 | FY11-0086 | P779602 | 536 | KUHT window replacement, front entrance | 1894 | Wright |  |  |  | Other | x | Critical
2011-10-03 | FY11-0087 | P779603 | 542 | South Park Exterior Lighting replacement | 11996.32 | Wright |  |  |  | L&M | x | Critical
2011-10-03 | FY11-0088 | P779604 | 588 | McElhineey replace damaged classroom tables | 2980 | Wright |  |  |  | Other | x | Critical
2011-10-03 | FY11-0089 | P779605 | 549 | Grad. School of Social Work, replace water damage carpet | 1511.13 | Jenkins |  |  |  | Other |  | Deferred
2011-10-06 | FY11-0090 | P779606 | 589 | Water leak on NE side of Fine Arts | 12342.2 | Gill |  |  |  | Plumbing | x | Critical
2011-10-06 | FY11-0091 | P779607 | 534 | Water leak on north side of Heyne | 2858 | Gill |  |  |  | Plumbing | x | Critical
2011-10-06 | FY11-0092 | P779608 | 554 | Water leak east side of Biology Greenhouse | 4663 | Gill |  |  |  | Plumbing | x | Critical
2011-10-06 | FY11-0093 | P779609 | 534 | Water leak on South side of Heyne | 3702 | Gill |  |  |  | Plumbing | x | Critical
2011-10-11 | FY11-0094 | P779610 | 503 | Water main break south side of Tech 1 | 11455.2 | Gill |  |  |  | Plumbing | x | Critical
2011-10-11 | FY11-0095 | P779611 | 503 | Water main break east side of Tech 1 | 11398 | Gill |  |  |  | Plumbing | x | Critical
2011-10-11 | FY11-0096 | P779612 | 547 | Water leak by three valve cluster north side of PGH | 14665.53 | Gill |  |  |  | Plumbing | x | Critical
2011-10-11 | FY11-0097 | P779613 | 547 | Water leak on south side of PGH | 4061.52 | Gill |  |  |  | Plumbing | x | Critical
2011-10-11 | FY11-0098 | P779614 | 555 | Water leak on south side of Law hall | 6161.52 | Gill |  |  |  | Plumbing | x | Critical
2011-10-11 | FY11-0099 | P779615 | 509 | Water leak on north side of MDA library | 5639.23 | Gill |  |  |  | Plumbing | x | Critical
2011-10-17 | FY11-0100 | P779617 | 518 | Campus Water infrastructure leak on east side of Calhoun Lofts | 1250.27 | Gill |  |  |  | Plumbing | x | Critical
2011-11-01 | FY11-0101 | P779619 | 499 | Lot 15 C & ROTC Sanitary main line cleanouts | 32782 | Gill |  |  |  | Plumbing | x | Deferred
2001-11-01 | FY11-0102 | P779620 | 550 | SR1 1st Floor Mechanical Room drains back up | 9434 | Gill |  |  |  | Plumbing | x | Critical
2011-11-09 | FY11-0103 | P779621 | 499 | Replace and upgrade 6" transite water line behind Y building | 43566 | Gill |  |  |  | Plumbing | x | Deferred
2011-11-09 | FY11-0104 | P779622 | 589 | Fine Arts - Replacement of Circuit breaker | 22091.28 | Gill |  |  |  | Elec | x | Deferred
2011-11-11 | FY11-0105 | P779623 | 400 | Cougar Substation repalcement of grounding copper wire | 26030 | Gill |  |  |  | Elec | x | Deferred
2011-11-11 | FY11-0106 | P779624 | 545 | SERC - Emergency 15kV ATS Repair | 66236 | Gill |  |  |  | Elec | x | Critical
2011-11-11 | FY11-0107 | P779625 | 545 | SERC 1st Floor, window replacement | 2200 | Wright |  |  |  | Other | x | Critical
2011-11-11 | FY11-0108 | P779626 | 509 | MD Anderson Honors College Window Replacement | 518 | Wright |  |  |  | Other | x | Critical
2011-11-11 | FY11-0109 | P779627 | 589 | Blaffer Gallery Renovation - replacement of energy management building controls | 51676.83 | Maal |  |  |  | Other |  | Deferred
2011-11-11 | FY11-0110 | P779628 | 579 | Cullen Engineering Security Doors installation | 29785.46 | Oliver |  |  |  | Safety | x | Critical
2011-11-15 | FY11-0111 | P779629 | 585 | GSB Auto Shop Vehicle Lift Replacement | 8304.42 | Smith |  |  |  | Other | x | Deferred
2011-11-18 | FY11-0112 | P779630 | 537 | Krost Law Emergency Water leak repairs | 82981.69 | Oliver |  |  |  | Other | x | Critical
2011-11-30 | FY11-0113 | P779633 | 590 | Hilton Hotel Continuing Education ATS, Breaker & Feeder Repairs | 13432.32 | Gill |  |  |  | Elec | x | Critical
2011-12-02 | FY11-0114 | P779634 | 547 | PGH Room 615 Emergency Water leak Repair | 2203.74 | Oliver |  |  |  | Other | x | Critical
2012-05-30 | FY11-0115 | P779480 | na | Sink Hole at Spur 5 & University Drive | 1976.23 | Gill |  |  |  | Safety | x | Critical
2012-05-25 | FY11-0116 | P779747 | 551 | SR2 Emergency Asbestos Abatement | 1840 | Gill |  |  |  | L&M | x | Deferred
2012-06-05 | FY11-0117 | P779750 | 519 | DPS Emergency Repairs | 2368.05 | Vail |  |  |  | Arch | x | Critical
2012-06-05 | FY11-0118 | P779751 | 537 | Bates Law Emergency Response to flooding 05/11/12 | 7184.74 | Oliver |  |  |  | Other | x | Critical
2012-06-07 | FY11-0119 | P779754 | na | Emergency Abatement of exterior steam pipe | 1569 | Gill |  |  |  | L&M | x | Deferred
2012-06-12 | FY11-0120 | P779757 | 502 | Old Science Asbestos Abatement fo Steam Pipe Insulation | 933 | Gill |  |  |  | L&M | x | Critical
2012-06-20 | FY11-0121 | P779758 | 596 | Computing Center Chiller Replacement Desitgn | 33580.8 | Simmons |  |  |  | HVAC | x | Planned
2012-06-20 | FY11-0122 | P779759 | 501 | Roy Cullen HVAC system repairs E&G space | 10510.99 | Oliver |  |  |  | HVAC |  | Deferred
2012-06-20 | FY11-0123 | P779760 | 579 | Cullen Eng. S344A Roof Top Mechanical Room Sealing | 27800.13 | Oliver |  |  |  | Arch | x | Planned
2012-07-05 | FY11-0124 | P779771 | 596 | Computing Center Generator Repair | 12383.39 | Gill |  |  |  | Elec | x | Deferred
2012-07-05 | FY11-0125 | P779772 | 502 | Old Science Decommissioning | 30000 | Galvan |  |  |  | Other |  | Planned
2012-07-05 | FY11-0126 | P779773 | 550 | SR1 Dr. Bissada Lab emergency Plumbing work | 13533.02 | Talbot |  |  |  | Plumbing | x | Critical
2012-07-09 | FY11-0127 | P779775 | 534 | Heyne Hall Sprinklers and Strobes for Sound Proof Booths | 3668.24 | Vail |  |  |  | L&M |  | Deferred
2012-07-27 | FY11-0128 | P779780 | 519 | Police Department Emergency Leak Repairs | 43345.04 | Oliver |  |  |  | Other | x | Critical
2012-08-02 | FY11-0129 | P779781 | 581 | Cullen Engineering D2 - Crosswalk Roof Repairs | 31212.06 | Oliver |  |  |  | Arch | x | Critical
2012-09-19 | FY11-0130 | P779809 | 543 | Repair Steam Pipe leak on South Side of Architecture Bldg. | 7840.67 | Wheeler |  |  |  | Plumbing | x | Critical
2012-09-19 | FY11-0131 | P779811 | 502 | Investigation into Waterline leak on North Side of Science Building | 10580.66 | Wheeler |  |  |  | Plumbing | x | Critical
2012-09-12 | FY11-0132 | P779812 | 534 | Repair 6-inch waterline leak on SE corner of Heyne Building | 7738.11 | Wheeler |  |  |  | Plumbing | x | Critical
2012-10-12 | FY11-0133 | P779822 | na | Excavation to pinpoint leak at PGH and AA | 9252.73 | Gill |  |  |  | Other | x | Critical
2012-10-17 | FY11-0134 | P779823 | 551 | SR2 Animal Care Hydro Jet Clean gravity sanitary drain | 6757.5 | Gill |  |  |  | Other | x | Critical
2013-03-11 | FY11-0135 | P779919 | 586 | Walkway at Camerson Child Care installation | 2246.88 | Warner |  |  |  | Other |  | Planned
2013-03-15 | FY11-0136 | P779927 | 553 | Welcome Center Garage Emergency Façade repair | 3065.39 | Laws |  |  |  | Other | x | Critical
2013-04-18 | FY11-0137 | P779949 | 587 | Farish Hall - Locate underground water leak | 6154.46 | Gill |  |  |  | Plumbing | x | Critical
2013-05-09 | FY11-0138 | P779960 | 590 | AERCO Water Heaters in Continuing Education at Hilton | 34980 | Gill |  |  |  | HVAC | x | Deferred
2013-05-07 | FY11-0139 | P779961 | 543 | Architecture Chilled water flange leak | 6869.01 | Gill |  |  |  | HVAC | x | Deferred
2013-05-15 | FY11-0140 | P779964 | na | Entrance 19 at Calhoun crosswalk Energency Repair | 1030.98 | Wheeler |  |  |  | Other | x | Critical
2013-05-15 | FY11-0141 | P779965 | 597 & 503 | Electrical Repair and Maintenance for Engineering 1 and Tech 1 | 6252.21 | Wheeler |  |  |  | Other | x | Deferred
2013-06-10 | FY11-0142 | P779975 | na | Emergency Water Leak at Parking Lot 15-F | 6551.38 | Gill |  |  |  | Plumbing | x | Critical
2013-06-11 | FY11-0143 | P779976 | 534 | Heyne Repair Exterior Door at Loading Dock | 8668.93 | Simmons |  |  |  | Other | x | Deferred
2013-06-11 | FY11-0144 | P779977 | 516 | E. Cullen HVAC Repair and Replacement | 15593 | Laws |  |  |  | HVAC | x | Critical
2013-06-11 | FY11-0145 | P779978 | 543 | Visible Growth at College of Architecture | 3369.74 | Burks |  |  |  | Safety |  | Deferred
2013-06-20 | FY11-0146 | P779979 | 551 | SR2 Exterior Drains | 3753.75 | Oliver |  |  |  | Plumbing | x | Critical
2013-06-20 | FY11-0147 | P779984 | 564 | Fleming Water Intrusion | 3844.62 | Laws |  |  |  | Other | x | Critical
2013-06-24 | FY11-0148 | P779992 | 579 | College of Engineering Rooms N382, N386 and N386A Painting and Renewal | 15005.76 | Wright |  |  |  | Other | x | Deferred
2010-08-23 | FY12-0001 | P779482 | 515 | FY12 CRDM Central Plant Expansion | 5903107 | Bueller |  |  | Def Maint | Other | X
2011-12-09 | FY12-0002 | P779588 | 579 | Cullen Eng. Room Containment Phase 2 | 89468.24 | Oliver |  |  |  | Other | x | Critical
2011-11-17 | FY12-0003 | P779630 | 497 | Utility Tunnel replace Chill Water Valves | 235628.4 | Gill |  |  |  | HVAC | x | Critical
2011-12-06 | FY12-0004 | P779635 | 502 | 6" water leak by Old Science | 6035.27 | Gill |  |  |  | Plumbing | x | Critical
2011-12-06 | FY12-0005 | P779636 | 578 | Agnes Arnold Hall Water Leak & Valves Upgrade | 16752.66 | Gill |  |  |  | Plumbing | x | Critical
2011-12-09 | FY12-0006 | P779637 | 516&517 | E. Cullen Domestic Water Valves Cluster Replacement | 9541.37 | Gill |  |  |  | Plumbing | x | Critical
2011-12-09 | FY12-0007 | P779638 | 590 | Hilton Hotel Academic Kitchens in CHRM Patio Assessment | 3180 | Gill |  |  |  | Other | x | Deferred
2011-12-09 | FY12-0008 | P779639 | 589 | Irrigation system leak near Fine Arts | 8094.49 | Gill |  |  |  | Plumbing | x | Critical
2011-12-09 | FY12-0009 | P779640 | 596 | Diagnostics of Computing Center Emergency Generator | 18513.05 | Gill |  |  |  | Electrical | x | Deferred
2011-12-09 | FY12-0010 | P779641 | 550 | SR1 Lactation Room | 18308.34 | Vail |  |  |  | Other |  | Adaptation
2011-12-16 | FY12-0011 | P779642 | various | EHS Safety Shower & Eyewash Installation A/E fees only | 31800 | Tolbert |  |  |  | Other |  | Adaptation
2012-01-04 | FY12-0012 | P779643 | 503 | Renew Domestic Water Loop system south side of Technology | 30529.44 | Gill |  |  |  | Plumbing | x | Deferred
2011-12-22 | FY12-0013 | P779644 | 501 | Roy Cullen Classroom 122 Repair broken Roof Tile | 21765.21 | Oliver |  |  |  | Other | x | Deferred
2012-01-10 | FY12-0014 | P779645 | various | E&G Storm Issues | 10000 | Rockwell |  |  |  | Other | x | Critical
2012-01-11 | FY12-0015 | P779647 | 516 | E. Cullen Access Panel for Storm Drain Pumps | 12137 | Gill |  |  |  | Plumbing | x | Deferred
2012-01-13 | FY12-0016 | P779649 | 499 | Lot 9C Fenceline Cleanup | 8752.42 | Warner |  |  |  | Other |  | Deferred
2012-01-17 | FY12-0017 | P779650 | 509 | MDA Library Domestic Water Main Leak | 11009 | Gill |  |  |  | Plumbing | x | Deferred
2012-01-17 | FY12-0018 | P779651 | 589 | Fine Arts 8" water main break | 12501 | Gill |  |  |  | Plumbing | x | Deferred
2012-01-30 | FY12-0019 | P779660 | 555-559 | Quadrangle Exterior Sidewalk Repair | 1160.17 | Prochaska |  |  |  | Other | x | Deferred
2012-01-30 | FY12-0020 | P779661 | 509 | MDA Library Backwater Valve | 31850 | Gill |  |  |  | Plumbing | x | Deferred
2012-02-03 | FY12-0021 | P779664 | 598 | Clinical Research Center Environmental Air Testing | 6179.8 | Oliver |  |  |  | Other | x | On-Going
2012-02-06 | FY12-0022 | P779666 | 550 | SR1 Room 14 Restoration | 9132.1 | Oliver |  |  |  | Other | x | Critical
2012-02-06 | FY12-0023 | P779667 | 598 | CRS Remediation and Restoration | 312321.66 | Oliver |  |  |  | Other | x | Critical
2012-02-06 | FY12-0024 | P779668 | 586 | Cameron Building 1st Floor Restroom | 22154 | Connell |  |  |  | Other |  | Deferred
2012-02-09 | FY12-0025 | P779669 | 550 | SR1 General Refresh | 465150 | Galvan |  |  |  | Other |  | Deferred
2012-02-14 | FY12-0026 | P779671 |  | Cotton Remediation Issues | 20354.34 | Rockwell |  |  |  | Other | x | Critical
2012-02-16 | FY12-0027 | P779672 | 507 | Wortham Theater Sprinkler System Design | 82261.3 | Norcom |  |  |  | Safety |  | Deferred
2012-02-16 | FY12-0028 | P779674 | 590 | Hilton Hotel Roof Assessment | 41121.69 | Tolbert |  |  |  | Other |  | Planned
2012-02-16 | FY12-0029 | P779675 | 540 | Teaching Unit 2 Exterior Façade Repair | 12053.47 | Oliver |  |  |  | Architectural | x | Deferred
2012-02-16 | FY12-0030 | P779676 | 538 | Teachnig Unit 2 Water Infiltration Review | 5247 | Ivy |  |  |  | Other | x | Deferred
2012-02-24 | FY12-0031 | P779678 | 540 | Law Complex 01/25 Floods | 45094.61 | Oliver |  |  |  | Other | x | Critical
2012-02-28 | FY12-0032 | P779679 | 529 | SERC Classrooms Tridium Jace BAC NET Controls | 27322.81 | Gonzalez |  |  |  | Electrical |  | Deferred
2012-02-27 | FY12-0033 | P779680 | 507 | Wortham Theater Roof Repairs | 4597.26 | Oliver |  |  |  | Architectural | x | Critical
2012-02-28 | FY12-0034 | P779681 | 516 | Cullen Engineering Replace Wet Carpet | 23119.14 | Oliver |  |  |  | Other | x | Critical
2012-02-06 | FY12-0035 | P779682 | 515 | Central Plant Chiller $4 York OM 5000 ton Chill water machine repair | 404250 | Gill |  |  |  | HVAC | x | Deferred
2012-02-28 | FY12-0036 | P779683 | na | Water main leak at Football Practice Field | 1711.59 | Gill |  |  |  | Plumbing | x | Critical
2012-02-28 | FY12-0037 | P779684 | 576 | Water Main Leak at Science Teaching Lab | 2400 | Gill |  |  |  | Plumbing | x | Critical
2012-02-28 | FY12-0038 | P779685 | 509 | Water Main Leak on East Side of MDA Library | 5384.91 | Gill |  |  |  | Plumbing | x | Critical
2012-02-28 | FY12-0039 | P779686 | 505 | Optometry Window Leak Repair | 1212.02 | Wright |  |  |  | Other | x | Deferred
2012-02-29 | FY12-0040 | P779687 | 549 | Social Work Replace Two Broken Spandrels | 3284 | Wright |  |  |  | Other | x | Deferred
2012-02-29 | FY12-0041 | P779688 | 520 | MSM Roof Repairs Opera/Stage areas | 22174.08 | Oliver |  |  |  | Architectural | x | Critical
2012-02-29 | FY12-0042 | P779690 | 519 | UHPD Roof Repair | 12423.43 | Rahrukar |  |  |  | Architectural | x | Critical
2012-03-02 | FY12-0043 | P779691 | na | Infrastructure water leaks by Calhoun Lofts | 8664 | Gill |  |  |  | Plumbing | x | Critical
2012-03-02 | FY12-0044 | P779692 | na | Floodbreak Annual Maintenance and Repair | 8395 | Gill |  |  |  | Plumbing | x | Deferred
2012-03-02 | FY12-0045 | P779693 | na | Campus Posting Kiosks | 44237.27 | Warner |  |  |  | Other |  | Deferred
2012-03-02 | FY12-0046 | P779694 | na | Storm Sewer Cleaningdue to major clog at Parking Lot 16 | 12082.54 | Ivy |  |  |  | Plumbing |  | Deferred
2012-03-02 | FY12-0047 | P779695 | na | Cullen Performance Hall Make Ready and Repairs | 7458.6 | Villarreal |  |  |  | Other | x | Deferred
2012-03-07 | FY12-0048 | P779696 | 400 | Cougar Sub Station Lighting/Intrusion installation | 42375.7 | Gill |  |  |  | Electrical | x | Deferred
2012-03-05 | FY12-0049 | P779697 | 509 | MDA Library Amp Breaker Repair | 4547 | Gill |  |  |  | Electrical | x | Deferred
2012-03-07 | FY12-0050 | P779698 | 509 | MDA Library installation of Isolation Valve | 12259 | Gill |  |  |  | Plumbing | x | Deferred
2012-03-01 | FY12-0051 | P779699 | 501 | Roy Cullen Rooms 234A, 234B & 222B Restoration and Reconstruction | 31089.73 | Wright |  |  |  | Other | x | Critical
2012-03-12 | FY12-0052 | P779700 | 579 | Engineering ACM Debris Clean Up | 655 | Wright |  |  |  | L&M | x | Critical
| FY12-0053 | P779701 | 515 | Chilled Water Pipe Life Assessment | 144248 | Gill |  |  |  | HVAC | x | Deferred
2012-03-24 | FY12-0054 | P779702 | 579 | Cullen Engineering N333-N345 Leak Repairs | 11285.51 | Oliver |  |  |  | Other | x | Critical
2012-03-23 | FY12-0055 | P779703 | 598 | Clinical Research Emergency Egress Repairs | 1500.96 | Oliver |  |  |  | Other | x | Critical
2012-03-20 | FY12-0056 | P779704 | 544 | Cemo Hall IDF Room 103E Replace Burnt HVAC Unit | 34603.7 | Oliver |  |  |  | HVAC | x | Critical
2012-03-21 | FY12-0057 | P779705 | na | Parking Lot 19D Domestic 8" water main leak | 2395 | Gill |  |  |  | Plumbing | x | Critical
2012-03-21 | FY12-0058 | P779706 | na | Entrance 4 3" leaky valve replacement | 3138 | Gill |  |  |  | Plumbing | x | Critical
2012-03-27 | FY12-0059 | P779707 | 519 | Repairs to Police Station Roof | 5983.91 | Oliver |  |  |  | Architectural | x | Critical
2012-03-19 | FY12-0060 | P779708 | 499 | Campus Wide Fire Extinguisher Replacement | 11489.34 | Tolbert |  |  |  | L&M | x | Deferred
2012-03-30 | FY12-0061 | P779709 | 516 | E. Cullen Water Leak Repairs | 141099.51 | Oliver |  |  |  | Plumbing | x | Critical
2012-04-12 | FY12-0062 | P779712 | 550 | Post Renovation Cleaning SR1 | 23428.3 | Mosley |  |  |  | Other |  | Critical
2012-04-11 | FY12-0063 | P779713 | 559 | 6" OS&Y Valave Replacement outside OB Hall | 4742.41 | Gill |  |  |  | Plumbing | x | Critical
2012-03-30 | FY12-0064 | P779718 | 509 | MD Anderson Library Duct Work Reconfiguration | 17395.55 | Oliver |  |  |  | HVAC | x | Deferred
2012-04-04 | FY12-0065 | P779719 | 509 | MD Anderson Fire Marshal Life Safety Deficiencies | 38812.64 | Oliver |  |  |  | L&M | x | Critical
2012-04-20 | FY12-0066 | P779720 | 590 | Grease Trap Installation for Academic Kitchen | 179020 | Gill |  |  |  | Other | x | Deferred
2012-04-27 | FY12-0067 | P779721 | various | Fire Protection Compliance Item 1, Design and Construct | 29150 | Simmons |  |  |  | Other | x | Deferred
2012-04-27 | FY12-0068 | P779722 | various | fire Protection Compliance Item 3, Programming | 291500 | Simmons |  |  |  | Other | x | Deferred
2012-04-27 | FY12-0069 | P779723 | 579 | Cullen N-22 Interior Water Leaks | 19649.9 | Oliver |  |  |  | Architectural | x | Critical
2012-04-25 | FY12-0070 | P779725 | 550 | SR1 Flooring Replacement | 36175.64 | Oliver |  |  |  | Safety | x | Deferred
2012-05-01 | FY12-0071 | P779728 | 508 | College of Tech. ADA/Automatic Doors | 5087.07 | Prochaska |  |  |  | L&M |  | Deferred
2012-05-01 | FY12-0072 | P779729 | na | Campus Electrical Infrastructure Repairs near HSC and Justin Dart CSD buildings | 5060 | Gill |  |  |  | Electrical | x | Planned
2012-05-01 | FY12-0073 | P779730 | 505 | College of Optometry Structural Repair Design | 88404 | Laws |  |  |  | Architectural | x | Critical
2012-05-01 | FY12-0074 | P779731 | 509 | MD Anderson Library Sanitary Sewer Design | 98427.89 | Simmons |  |  |  | Plumbing | x | Critical
2012-05-01 | FY12-0075 | P779732 | 598 | Communications Disorders Psychology building Carpet Replacement | 96267 | Wright |  |  |  | Other | x | Planned
2012-05-01 | FY12-0076 | P779733 | 509 | MD Anderson Library Restroom Renovations Brown Wing | 221000 | Galvan |  |  |  | L&M | x | Deferred
2012-05-02 | FY12-0077 | P779735 | 579 | Lab S296 Fume Hood Cleaning | 547.66 | Oliver |  |  |  | Other | x | Deferred
2012-05-07 | FY12-0078 | P779737 | various | Fire Protection Compliance, Item 4 - Construction | 22957.47 | Simmons |  |  |  | L&M | x | Deferred
2012-05-10 | FY12-0079 | P779739 | 543 | College of Arch. Smoke Damper Repairs | 67442.74 | Oliver |  |  |  | L&M | x | Critical
2012-05-10 | FY12-0080 | P779740 | 505 | College of Opt. Structural Demolishing | 54909.23 | Laws |  |  |  | Architectural | x | Planned
2012-05-10 | FY12-0081 | P779741 | na | Repair Stema Leak Exterior Infrastructure | 18472 | Gill |  |  |  | Plumbing | x | Critical
2012-05-14 | FY12-0082 | P779742 | na | Exterior water Infrastructure redundancy | 21224.68 | Gill |  |  |  | Plumbing | x | Critical
2012-05-31 | FY12-0083 | P779748 | 598 | Clinical Research Annex Emergency Roof Leak repair | 10722.2 | Galvan |  |  |  | Architectural | x | Critical
2012-06-22 | FY12-0084 | P779761 | various | Classroom Lighting and marker board refresh | 173250 | Espey |  |  |  | Other |  | Planned
2012-06-22 | FY12-0085 | P779762 | na | Exterior refresh of handrails, curbs and trash cans | 130515 | Espey |  |  |  | Other |  | Planned
2012-06-24 | FY12-0086 | P779764 | na | Fire Hydrants | 104940 | Simmons |  |  |  | L&M |  | Planned
2012-06-24 | FY12-0087 | P779765 | na | Fine Arts Cleaning and Hand Dryer Installation | 177349.1 | Vail |  |  |  | Other |  | Planned
2012-06-21 | FY12-0088 | P779766 | 538 | TU2 Water Infiltration Repairs | 12534.5 | Laws |  |  |  | Architectural |  | Deferred
2012-06-26 | FY12-0089 | P779767 | 590 | Hilton Life Safety and infrastructure Projects | 1757668 | Maal |  |  |  | L&M | x | Deferred
2012-09-19 | FY12-0090 | P779810 | 519 | DPS Interior Planning | 48777.35 | Laws |  |  |  | Other |  | Planned
2012-09-27 | FY12-0091 | P779813 | 571 | Y-Parking Site Improvements | 34557.91 | Galvan |  |  |  | Other |  | Adaptation
2012-09-27 | FY12-0092 | P779814 | 503 | Technolgy Annex Infrastructure Life Safety Upgrades | 21345.05 | Tolbert |  |  |  | Safety | x | Deferred
2012-09-21 | FY12-0093 | P779815 | 551 | SR2 Tie in Fire Pump to Emergency Generator | 30432.6 | Simmons |  |  |  | Safety | x | Deferred
2012-09-19 | FY12-0094 | P779816 | 499 | FDC Hydrostatic Testing | 17781.5 | Simmons |  |  |  | Safety | x | Deferred
2012-10-02 | FY12-0095 | P779819 | 543 | College of Arch. Loading Dock Doors Replacement | 13264.42 | Oliver |  |  |  | Other | x | Deferred
2012-10-02 | FY12-0096 | P779820 | 596 | Computing Ctr. 250 Ton Chiller and Chilled Water Main Header | 433125 | Simmons |  |  |  | HVAC |  | Planned
2012-10-31 | FY12-0097 | P779833 | 515 | Central Plant Water Softener replacement | 13744 | Gill |  |  |  | Other |  | On-Going
2012-10-31 | FY12-0098 | P779834 | 585 | GSB 1st Floor ADA restroom upgrade | 6695 | Burks |  |  |  | L&M |  | Planned
2012-10-31 | FY12-0099 | P779840 | 586 | Cameron Sound Abatement for roooms 103 and 105 | 29998 | Vail |  |  |  | Other |  | Planned
2012-10-29 | FY12-0100 | P779841 | 516 | SFMO Violation #9 E. Cullen Room 501 Means of Egress | 34692.57 | Simmons |  |  |  | L&M | x | Critical
2012-11-02 | FY12-0101 | P779842 | 596 | Computing Center Emergency Generator Study | 12359.6 | Simmons |  |  |  | Other |  | Planned
2012-11-07 | FY12-0102 | P779847 | na | Waterline Infrastructure repair SW corner of Baseball field | 1809.76 | Gill |  |  |  | Plumbing | x | Critical
2013-02-05 | FY12-0103 | P779904 | 550 | SR1 East Cast In Place Stone Repair | 10021.67 | Laws |  |  |  | Architectural | x | Critical
2013-02-06 | FY12-0104 | P779907 | 550 | SR1 Removal, Disposal and Replacement of VCT Flooring in Rooms 703 and 705 | 7375.06 | Mathis |  |  |  | Other | x | Deferred
2013-02-11 | FY12-0105 | P779909 | na | Lynn Eusan Park Stage - Storm Drainage | 21112.04 | Vail |  |  |  | Other | x | Critical
2013-02-12 | FY12-0106 | P779911 | 520 | MSM Electrical Repairs and Maintenance | 24060.41 | Wheeler |  |  |  | Electrical | x | Deferred
2013-03-11 | FY12-0107 | P779921 | na | Flood Break Annual Maintenance | 4524 | Gill |  |  |  | Other |  | Planned
2013-03-11 | FY12-0108 | P779922 | na | Water Leak at Parking Lot 15-F | 4691.56 | Gill |  |  |  | Plumbing | x | Critical
2013-03-13 | FY12-0109 | P779930 | 596 | Computing Center Monitoring and Control for New and existing Chillers | 4897.2 | Simmons |  |  |  | Other | x | Deferred
2013-03-20 | FY12-0110 | P779936 | 553 | Welcome Center Emergency Façade Repair | 3065.39 | Laws |  |  |  | Architectural | x | Critical
2013-05-14 | FY12-0111 | P779953 | 545 | SERC Inspect Relays on 15kV ATS | 1160.17 | Wheeler |  |  |  | Electrical | x | Deferred
2013-05-17 | FY12-0112 | P779955 | 550 | SR1 Exterior Paving | 5691.25 | Olivarez |  |  |  | Other |  | Deferred
2013-05-22 | FY12-0113 | P779967 | 585 | GSB Accessible Toilet Room Upgrade | 903.65 | Burks |  |  |  | L&M | x | Deferred
2013-06-20 | FY12-0114 | P779985 | na | Fire Hydrant 14 Replacement and Relocation | 17313.21 | Wheeler |  |  |  | L&M | x | Deferred
2010-08-23 | FY13-0001 | P779483 | 515 | FY13 CRDM Central Plant Expansion | 7325297 | Bueller |  |  | Def Maint | Other | X
2012-09-09 | FY13-0002 | P779806 | 550 | SR1 Fume Hood Leak | 163782.33 | Galvan |  |  |  | Safety | x | Critical
2012-10-17 | FY13-0003 | P779672 | 507 | Wortham Sprinkler Design | 730924.27 | Prochaska |  |  |  | Safety | x | Deferred
2013-01-28 | FY12-0073 | P779730 | 505 | College of Optometry Structural Repair Design | 894259 | Laws |  |  |  | Architectural | x | Critical
2012-10-23 | FY13-0004 | P779825 | na | Water Main leak repair between PGH & AA | 62361.04 | Gill |  |  |  | Plumbing | x | Critical
2012-10-23 | FY13-0005 | P779826 | 593 | HSC Pressure Washing | 25246.58 | Laws |  |  |  | Other |  | Deferred
2012-10-22 | FY13-0006 | P779827 | 507 | Alley Theatre Prep | 343041.36 | Prochaska |  |  |  | Other |  | Planned
2012-10-19 | FY13-0007 | P779828 | 533 | Melcher Gym Dance Floor Installation | 90651.56 | Galvan |  |  |  | Other |  | Adaptation
2012-11-13 | FY13-0008 | P779830 | 516 | SFMO Violation #10 E. Cullen Stairwell Doors & Hardware | 350957.38 | Simmons |  |  |  | L&M | x | Critical
2012-10-25 | FY13-0009 | P779831 | 580 | Engineering Lecture Hall Building Envelope Work | 152460 | Vail |  |  |  | Arch. |  | Planned
2012-10-25 | FY13-0010 | P779832 | 586 | Cameron Building Exterior Envelope Work | 344767 | Vail |  |  |  | Arch. |  | Planned
2012-11-06 | FY13-0011 | P779846 | na | Water leak between MDA & Central Plant | 50051.97 | Gill |  |  |  | Plumbing | x | Critical
2012-11-07 | FY13-0012 | P779848 | 564 | Fleming Leaking Ceiling labs 231F, 232F, 233F, 235F, 239F | 47407.72 | Oliver |  |  |  | Other | x | Deferred
2012-11-10 | FY13-0013 | P779852 | 534 | Storm Drain leak on South Side of Heyne | 5549.41 | Gil |  |  |  | Plumbing | x | Critical
2012-11-13 | FY13-0014 | P779853 | 534 | SFMO Violation #16 Heyne Stairwell Doors and Hardware | 266727.94 | Simmons |  |  |  | L&M | x | Critical
2012-11-13 | FY13-0015 | P779854 | 537 | SFMO Violation #17 Bates Law Stairwell Doors and Hardware | 232569.38 | Simmons |  |  |  | L&M | x | Critical
2012-11-14 | FY13-0016 | P779856 | 543 | Water main leak south side of Architecture | 3769.6 | Gil |  |  |  | Plumbing | x | Critical
2012-11-13 | FY13-0017 | P779857 | 532 | SFMO Violation #14 Garrison Gym Stairwell Doors and Hardware | 126996.38 | Simmons |  |  |  | L&M | x | Critical
2012-11-13 | FY13-0018 | P779858 | 517 | SFMO Violation #10 E. Cullen Performance Hall | 309811.41 | Simmons |  |  |  | L&M | x | Critical
2012-11-27 | FY13-0019 | P779668 | 586 | Additional funds for Cameron's Mens Bathroom Remodel | 62840.31 | Laws |  |  |  | Other |  | Planned
2012-11-19 | FY13-0020 | P779798 | 586 | Additional Funds for Design Services for Cameron AHU Replacement | 9357.6 | Laws |  |  |  | HVAC | x | Critical
2012-11-28 | FY13-0021 | P779862 | 534 | Heyne Floor Drain Repair in Room 27 | 8039.01 | Wheeler |  |  |  | Plumbing | x | Critical
2013-01-21 | FY13-0022 | P779892 | 592 | Health & biomed Cooling Tower Annual Preventive Maintenance | 10446.19 | Wheeler |  |  |  | HVAC |  | Planned
2013-01-23 | FY13-0023 | P779897 | 585 | FPC Second Floor Abatement GSB | 49570 | Wiesman |  |  |  | L&M |  | Deferred
2013-01-29 | FY13-0024 | P779899 | 532 | Garrison Gym Water Line Repair under slab | 19307.24 | Gill |  |  |  | Plumbing | x | Critical
2013-03-04 | FY13-0025 | P779923 | 590 | 15kv 600A Operating Mechanism removal and replacement at Hilton | 12791.25 | Wheeler |  |  |  | Electrical |  | Deferred
2013-03-11 | FY13-0026 | P779924 | 550 | SR1 Lab 105A Abatement and Clean Up | 15471.41 | Oliver |  |  |  | L&M | x | Critical
2013-03-18 | FY13-0027 | P779928 | 550 | SR1 Dr. Bissada Lab #105 Chemical Wet Lab functions | 44478.38 | Tolbert |  |  |  | Safety |  | Deferred
2013-03-21 | FY13-0028 | P779931 | 543 | College of Arch. HVAC Repairs & Upgrades | 28567 | Oliver |  |  |  | HVAC | x | Deferred
2013-03-26 | FY13-0029 | P779932 | na | Campus Wide High Rise Stair Enclosure signage | 25523.74 | Anorga |  |  |  | Other | x | Planned
2013-03-27 | FY13-0030 | P779933 | 534 | Repair 6" waterline leak and valve repair, SE corner of Heyne | 7258.11 | Wheeler |  |  |  | Plumbing | x | Critical
2013-03-27 | FY13-0031 | P779934 | 550 | SR1 Lab 103 Exhaust Duct | 5895.26 | Oliver |  |  |  | Other | x | Deferred
2013-03-29 | FY13-0032 | P779937 | 590 | Rehabilitation of Sewer Lines in College of Hotel & Restaurant Management | 34874 | Gill |  |  |  | Plumbing | x | Deferred
2013-04-01 | FY13-0033 | P779938 | 542 | Phase 5 West Side Road Repair (Design) | 6360 | Oliver |  |  |  | Other |  | Deferred
2013-04-01 | FY13-0034 | P779939 | 542 | SPA Exterior Privacy Fence Slatting | 16762.42 | Oliver |  |  |  | Other |  | Deferred
2013-04-01 | FY13-0035 | P779940 | 542 | SPA East Side Concrete Repairs Phase 2 | 29137.17 | Oliver |  |  |  | Arch. |  | Deferred
2013-04-09 | FY13-0036 | P779942 | na | Lynn Eusan Park Stage Sod | 15341.38 | Vail |  |  |  | Other |  | Deferred
2013-04-09 | FY13-0037 | P779943 | 800 | Elevator Interior Refresh 2 Year Program | 5300 | Prochaska |  |  |  | Other | x | Planned
2013-04-09 | FY13-0038 | P779944 | na | Fire Hydrant 14 replacement | 9543.71 | Wheeler |  |  |  | Safety | x | Critical
2013-04-09 | FY13-0039 | P779945 | 533 | Melcher Gym Steam Fired Water Heater | 28816 | Gill |  |  |  | HVAC | x | Deferred
2013-04-18 | FY13-0040 | P779948 | 542 | South Park Annex Phase 3 Safety Concerns Concrete | 19816.17 | Oliver |  |  |  | Other |  | Deferred
2013-04-23 | FY13-0041 | P779952 | 499 | Misc Life Safety Fire Protection System | 4629.02 | Simmons |  |  |  | Safety | x | Planned
2013-05-13 | FY13-0042 | P779963 | na | Hydrostatic testing of 8" waterline between old Y bldg and Eng. Bldg. | 13468.47 | Wheeler |  |  |  | Plumbing |  | Deferred
2013-05-30 | FY13-0043 | P779971 | 550 | SR1 Han Lab Deficiencies | 23510.8 | Oliver |  |  |  | Other | x | D\
2013-06-10 | FY13-0044 | P779973 | 533 | Melcher Pool Decommissioning Phase 1 | 12826 | Vail |  |  |  | Other |  | Deferred
2013-05-28 | FY13-0045 | P779974 | 503 | Technology Annex Corridor Ceiling Tile Replacement | 53939.16 | Galvan |  |  |  | Other |  | Deferred
2013-06-20 | FY13-0046 | P779995 | 551 | SR2 Electrical Short Circuit, Coordination and Arc Flash Study | 71942.2 | Simmons |  |  |  | Electrical |  | Critical
2013-06-20 | FY13-0047 | P779996 | 549 | Fire Water Availability Assessment and Renovation | 25535.4 | Simmons |  |  |  | Other |  | Planned
2013-06-24 | FY13-0048 | P779997 | 596 | Computing Center Coordination Study | 51420 | Simmons |  |  |  | Electrical |  | Planned
2013-06-26 | FY13-0049 | P779998 | 521 | Auto Shop Air Conditioning Installation | 90948 | Jones |  |  |  | HVAC |  | Deferred
2013-06-25 | FY13-0050 | P779999 | 587 | Farish Hall Restroom Renovations | 224669.45 | Burks |  |  |  | Other |  | Deferred
40247245.43
2010-08-23 | FY14-0001 | P779484 | 515 | FY14 CRDM Central Plant Expansion | 5378122 | Bueller |  |  | Def Maint | Other | X | Future Planned Expenditures

## New Items
Date | CRDM # | Project # | Bldg. # | Description | Budget | PM | Final Cost | Project Status | Def. Maint., Design Flaw, Energy | CB Catagories | Emerg. | Critical , Deferred, Adaptation,Planned, On-going
NEW PROJECTS
2013-06-20 | FY11-0146 | P779979 | 551 | SR2 Exterior Drains | 3753.75 | Oliver |  |  |  | Plumbing | x | Critical
2013-06-20 | FY10-0019 | P779980 | 590 | Hilton Chill Water Pipe Leak | 66260.77 | Villarreal |  |  |  | HVAC | x | Critical
2013-06-20 | FY07-0065 | P779981 | 400 | Cougar Substation 400 at ERP Fencing Repair | 2380 | Villareal |  |  |  | Other | x | Critical
2013-06-20 | FY08-0125 | P779982 | 550 | SR1 7th Floor Flooding | 15306.39 | Villarreal |  |  |  | Other | x | Critical
2013-06-20 | FY08-0126 | P779983 | 550 | SR1 2nd Floor Chase Abatement | 3126.2 | Villarreal |  |  |  | L&M | x | Critical
2013-06-20 | FY11-0147 | P779984 | 564 | Fleming Water Intrusion | 3844.62 | Laws |  |  |  | Other | x | Critical
2013-06-20 | FY12-0114 | P779985 | na | Fire Hydrant 14 Replacement and Relocation | 17313.21 | Wheeler |  |  |  | L&M | x | Deferred
2013-06-20 | FY07-0066 | P779986 | 585 | GSB Electrical Outlets for Hazardous Material storage | 4400 | Rahurkar |  |  |  | L&M | x | Critical
2013-06-20 | FY07-0067 | P779987 | 588 | McElhinney Elevator #1 Pump Motor Repair | 4254.88 | Aguilar |  |  |  | Other |  | Deferred
2013-06-20 | FY08-0127 | P779988 | 578 | Agnes Arnold Ground Floor water valve replacement | 6635 | Hanley |  |  |  | Plumbing | x | Critical
2013-06-24 | FY10-0020 | P779989 | 509 | MD Anderson Library 2nd Floor Lobby Broken Window | 642.64 | Wright |  |  |  | Other | x | Critical
2013-06-24 | FY10-0021 | P779990 | 534 | Heyne South Entrance Doors, Replace Broken Window Panel | 671.64 | Wright |  |  |  | Other | x | Critical
2013-06-24 | FY10-0022 | P779991 | 503 | Tech Annex Move and Clean | 5149.86 | Villarreal |  |  |  | Other | x | Deferred
2013-06-24 | FY11-0148 | P779992 | 579 | College of Engineering Rooms N382, N386 and N386A Painting and Renewal | 15005.76 | Wright |  |  |  | Other | x | Deferred
2013-06-20 | FY07-0068 | P779993 | 564 | Fleming Control Valve Leak AHU #2-34 | 6068.52 | Villareal |  |  |  | HVAC | x | Critical
2013-06-25 | FY09-0053 | P779994 | 547 | PGH Room 310 Flooring and Painting Renewal | 8326.32 | Wright |  |  |  | Other | x | Deferred
2013-06-20 | FY13-0046 | P779995 | 551 | SR2 Electrical Short Circuit, Coordination and Arc Flash Study | 71942.2 | Simmons |  |  |  | Electrical |  | Critical
2013-06-20 | FY13-0047 | P779996 | 549 | Fire Water Availability Assessment and Renovation | 25535.4 | Simmons |  |  |  | Other |  | Planned
2013-06-24 | FY13-0048 | P779997 | 596 | Computing Center Coordination Study | 51420 | Simmons |  |  |  | Electrical |  | Planned
2013-06-26 | FY13-0049 | P779998 | 521 | Auto Shop Air Conditioning Installation | 90948 | Jones |  |  |  | HVAC |  | Deferred
2013-06-25 | FY13-0050 | P779999 | 587 | Farish Hall Restroom Renovations | 224669.45 | Burks |  |  |  | Other |  | Deferred
2013-07-03 | FY07-0069 | P790100 | 509 | MD Anderson Pavers Repair | 2031.36 | Villareal |  |  |  | Other | x | Deferred
ADDITIONAL FUNDING REQUESTS
|  |  |  | Total Funded | 629685.97