University of Houston

Checklist

Renovation Project Fire/Life Safety                          1/6/05

| Y | N | NA |  |
| --- | --- | --- | --- |
|  |  |  | Will alterations, modernizations, or renovations be made, i.e. is there more to the project than cosmetics (paint, flooring)? |
|  |  |  | Compliance with National Fire Protection Association (NFPA) Life Safety Code 101? |
|  |  |  | Compliance with NFPA 241 Safeguarding Construction, Alteration, and Demolition Operations? |
|  |  |  | Is Fire Marshal Life Safety Plan Review required? |
|  |  |  | Are there combustible/flammable storage in stairwells and/or mechanical rooms? |
|  |  |  | Are there Oil-based painting to be performed after-hours? |
|  |  |  | Are there separation of flammable/combustibles from ignition sources? |
|  |  |  | Will the electrical power supply be checked for possible overloading? |
|  |  |  | Has there been a Project/Life Safety Acceptance Walk-thru? |
|  |  |  | Is the room(s) to be renovated a laboratory using chemicals? |
|  |  |  | Compliance with NFPA 45 Fire Protection for Laboratories Using Chemicals |
|  |  |  | Is the room to be renovated a Commercial Kitchen or Concession Stand? |
|  |  |  | Life Safety/Food Safety Plan Review |
|  |  |  | Life Safety/Food Safety Acceptance Walk-thru |
|  |  |  | Will there be any dust production, welding, and/or cutting which may set off the fire alarm system? |
|  |  |  | Obtain Welding, Cutting, and Dust Production Permit from Fire Marshal's Office |
|  |  |  | Will any chemicals be used during project? |
|  |  |  | Material Safety Data Sheets (MSDS) must be available on site |
|  |  |  | Will fire alarm devices need to be moved, added, and/or removed? |
|  |  |  | Compliance with NFPA 72 National Fire Alarm Code |
|  |  |  | Compliance with NFPA 70 National Electrical Code |
|  |  |  | TAS Compliance - Texas Accessibility Standards / TDLR |
|  |  |  | Fire Marshal Plan Review |
|  |  |  | Fire Marshal Acceptance Testing |
|  |  |  | Will fire protection systems need to be altered? |
|  |  |  | Compliance with appropriate NFPA standard |
|  |  |  | Fire Marshal Plan Review |
|  |  |  | Coordination of system shut-down for tie-ins with Fire Marshal and Building Maintenance |
|  |  |  | Fire Marshal Acceptance Testing |
|  |  |  | Will corridor or other fire-rated walls be altered? |
|  |  |  | 20 minute rating for corridor doors |
|  |  |  | 1 hour rating for corridor walls |
|  |  |  | 3/4 hour rating for corridor window glass ( not more than 25% of wall) |
|  |  |  | Fire-caulk all penetrations |
|  |  |  | 1 hour rating for stairwells 3 floors or less - 1 hour doors |
|  |  |  | 2 hour rating for stairwells 4 floors or more - 1.5 hour doors |
|  |  |  | Is occupant load of room(s) above 50? |
|  |  |  | Provide panic hardware |
|  |  |  | Provide a minimum of two doors with at least one/half the diagonal separation |
|  |  |  | What type of locking devices will be used? |
|  |  |  | Double-keyed deadbolts on single occupant offices only |
|  |  |  | Electronic locks must comply with NFPA 101 7.2.1.6 Special Locking Arrangements |
|  |  |  | Will project impact exit availability? |
|  |  |  | Maintain at least two clear means of egress |
|  |  |  | Provide exit signage when exit is not readily apparent |

Environmental Safety

| Y | N | NA |  |
| --- | --- | --- | --- |
|  |  |  | Asbestos in work area (or abatement included in scope)? |
|  |  |  | For asbestos abatement, coordination of HVAC shut-down/start-up must be in the consultant’s scope of work. |
|  |  |  | Hazardous Vapors Controlled (asbestos-type containment if building is occupied)? |
|  |  |  | Local Ventilation Engineered for Safety during project? |
|  |  |  | Plans to dispose of any expected trash (demolition, unused solvents etc.) |
|  |  |  | Any expected air emissions from project (fume hood, parts washer etc) (Contact EHRM for assistance) ? |
|  |  |  | Any new discharges to waste water system expected from project (addition of grease trap, oil/water separator) (Contact EHRM for assistance)? |
|  |  |  | Plans to inform building occupants of project with phone number for questions? |
|  |  |  | Plans to add new tank or changes to existing tanks (either above ground or below ground) (Contact EHRM for assistance)? |
|  |  |  | Impact of project on existing HVAC system has been assessed. |

# .

Project Name

__________________________________      ________________

Name                                                                 Date

Project Manager