## Checklist
Contractor Completion Date | UH FPI Verification Date | FMO Verification Date | Completion Date | 2014-02-12
UH Fire Marshal Inspection Checklist
Completed By: |  |  | [Name]
Date: |  |  | [Date]
Fire Alarm |  | Contractor Completion Date | UH FPI Verification Date | FMO Verification Date | Completion Date
Shop Drawing Approval
Cabling Supports
Initiating Devices
Notification Appliances
Panels
NAC's
Panel Battery Testing
Intelligibility
AHU Shutdown
Tampers
Fire Sprinkler |  | Contractor Completion Date | UH FPI Verification Date | FMO Verification Date | Completion Date
Flow Calculations Test
Shop Drawing Approval
Hydro Tests
Hangers
Head Placement
Dry Pipe Pressure Test
FDC Connection Spacing
FDC Visibility
Standpipe PRV's
Standpipe Valves/Caps
Standpipe Data Plates
Life Safety |  | Contractor Completion Date | UH FPI Verification Date | FMO Verification Date | Completion Date
Exterior Egress Door Lighting
Egress Path
Egress Capacity
Doors/Door Hardware
Overhead/Above Ceiling Inspections
Fire Walls/Fire Rated Doors
Fire Extinguishers/Cabinets
GFCI Inspections
Stair Width/Landing Width
Stair Railing Hand Space
Stair Railing Returns
Firestop
Fire Rated Plywood
Fire Dampers
Fire Pump |  | Contractor Completion Date | UH FPI Verification Date | FMO Verification Date | Completion Date
Churn Test
100% Testing
150% Testing
Phase Reversal
Jockey Pump
Break Tank |  | Contractor Completion Date | UH FPI Verification Date | FMO Verification Date | Completion Date
Sight Glass
Clay Valve
Sufficient Draining
Overflow Draining
High Water Alarms
Low Water Alarms
Generator Testing |  | Contractor Completion Date | UH FPI Verification Date | FMO Verification Date | Completion Date
Fire Alarm Functioning
Fire Pump Functioning
Emergency Lighting Functioning
Stair Pressurization Functioning
Elevator Recall
Primary Recall Location
Secondary Recall Location
Lab Exhaust Functioning
Elevator |  | Contractor Completion Date | UH FPI Verification Date | FMO Verification Date | Completion Date
Elevator Recall
Primary Recall Location
Secondary Recall Location
Shaft Inspection
Shunt Trip
Emergency Phone Functioning
Stair Pressurization |  | Contractor Completion Date | UH FPI Verification Date | FMO Verification Date | Completion Date
Pressure Differential
Door Pulls
Activation
Labs |  | Contractor Completion Date | UH FPI Verification Date | FMO Verification Date | Completion Date
Fume Hoods
Flammable Storage
Gas Delivery/Detection
Chemical Fire Suppression System
Kitchens |  | Contractor Completion Date | UH FPI Verification Date | FMO Verification Date | Completion Date
Releasing Panels for Kitchen Exhaust
Cooking Hoods
Gas Shunt
Electrical Shunt
Class K Extinguishers
Chemical Fire Suppression System
Signage |  | Contractor Completion Date | UH FPI Verification Date | FMO Verification Date | Completion Date
Egress Signage
Room Signage
Capacity Signage
FDC Signage
Fire Department Directional Signage
Miscellaneous |  | Contractor Completion Date | UH FPI Verification Date | FMO Verification Date | Completion Date
Knox box
Painted Fire Lane Curbs

## Lessions Learned
Stair Pressurization | Fire Marshal testing at the main stair egress door is with the door "open". UH defines "open" as far as the door can possibly be opened.
Fire Rated Plywood | All Fire Rated Plywood needs to have the rating labels exposed. Fire Rated plywood will not be accepted if the label is covered up and/or non existent.
Shutdowns | Shutdowns must be planned in advance. A meeting to discuss a shutdown is required two week prior to the shutdown. All paper work must be turned into UH FP&C for the required shutdown 9 business days in advance of the shutdown.
Combustible Materials | In renovation projects all existing combustible materials must be removed.