## SAMPLE
U N I V E R S I T Y of
HOUSTON
Facilities Planning and Construction
College of Pharmacy | [10 empty] | Program Requirements
2010-12-13
| Department: | Dean's Suite
| Existing Sq Ft: | 2175
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty)
Job Title |  | Staff Qty | Office Qty | WkSt Qty | Std SF | Extended SF | Staff Qty | Office/ WkSt Qty | Extended SF | Comments:
Staff
| Deans Office | 1 | 1 |  | 240 | 240 | 1 | 240 | 240
| Deans Meeting Office |  | 1 |  | 180 | 180 | 1 | 180 | 180 | Separate secondary office off Dean's main office.
| Associate Deans | 2 | 2 |  | 180 | 360 | 3 | 180 | 540
| Executive Secretary | 1 | 1 |  | 120 | 120 | 1 | 120 | 120
| Secretary | 1 |  | 1 | 48 | 48 | 2 | 48 | 96 | Located one close to each Associate Dean.
| Receptionist | 1 |  | 1 | 48 | 48 | 1 | 1 | 48
| Total Personnel | 6 |  |  |  |  | 9
| Total NSF Requirement |  |  |  |  | 996 |  |  | 1224
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty) |  |  | Comments:
Support Areas |  | Shared w/ other Dept. |  |  | Private within Dept. | SF |  |  | SF
| Reception/Waiting Area |  |  | 0 | 1 | 180 |  |  | 180 | Seating for 6 guest @30 Sf each. Receptionist to be located in this area.
| Storage/File Room |  |  | 0 | 1 | 100 |  |  | 100
| Copy/Work Area |  |  | 0 | 1 | 150 |  |  | 150 | Counter space with upper/lower cabinets, copier, fax, printer, telephone, shredder.
| Break Room |  |  | 0 | 1 | 150 |  |  | 150 | Sink, cabinets, frig, coffee maker w/ waterline.
| Conference Room |  |  | 0 | 1 | 360 |  |  | 360 | 18 seats @ 20 SF each. Writing surface, teleconference, data/power in table.
| Men's Private Restroom |  |  | 0 | 1 | 60 |  |  | 60
| Women's Private Restroom |  |  | 0 | 1 | 60 |  |  | 60
| Total Support Area NSF Requirement |  |  |  |  | 1060 |  |  | 1060
| Total NSF |  |  |  |  | 2056 |  |  | 2284
Adjacencies:
Business/Finance Suite
Program Requirements
2010-12-13
| Department: | Business/Finance Suite
| Existing Sq Ft: | 864
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty)
Job Title |  | Staff Qty | Office Qty | WkSt Qty | Std SF | Extended SF | Staff Qty | Office/ WkSt Qty | Extended SF | Comments:
Staff
| College Business Administrator | 1 | 1 |  | 180 | 180 | 3 | 180 | 540
| Depart. Business Administrator | 1 | 1 |  | 120 | 120 | 3 | 120 | 360
| Research Administrator | 1 |  | 1 | 48 | 48 | 3 | 48 | 144
| Payroll Coordinator | 1 |  | 1 | 48 | 48 | 3 | 48 | 144
| Administrative Coordinator | 1 |  | 1 | 48 | 48 | 2 | 48 | 96
| Financial Asst 2 | 1 |  | 1 | 48 | 48 | 3 | 48 | 144
| Financial Asst 1 | 1 |  | 1 | 48 | 48 | 3 | 48 | 144
| TMC Business Employee | 1 |  | 1 | 48 | 48 | 1 | 48 | 48
| Total Personnel | 8 |  |  |  |  | 21
| Total NSF Requirement |  |  |  |  | 588 |  |  | 1620
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty) |  |  | Comments:
Support Areas |  | Shared w/ other Dept. |  |  | Private within Dept. | SF |  |  | SF
| Reception/Waiting Area |  |  | 0 | 1 | 120 |  |  | 120 | Seating for 4 guest @ 30 SF each.
| Copy/Work/File Room |  |  | 0 | 1 | 150 |  |  | 150 | Counter space with upper/lower cabinets, copier, fax, printer, telephone, shredder.
| Conference Room |  |  | 0 | 1 | 120 |  |  | 120 | 6 seats @ 20 SF each. Writing surface, teleconference, data/power in table.
| Total Support Area NSF Requirement |  |  |  |  | 390 |  |  | 390
| Total NSF |  |  |  |  | 978 |  |  | 2010
Adjacencies:
Dean's Suite
Program Requirements
2010-12-13
| Department: | Development and Communications
| Existing Sq Ft: | 150 |  | 204
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty)
Job Title |  | Staff Qty | Office Qty | WkSt Qty | Std SF | Extended SF | Staff Qty | Office/ WkSt Qty | Extended SF | Comments:
Staff
Development
| Director of Development | 1 | 1 |  | 180 | 180 | 1 | 180 | 180
| Development Coordinator | 1 | 1 |  | 120 | 120 | 1 | 120 | 120
Communications Coordinator
| Communications Coordinator | 1 | 1 |  | 180 | 180 | 1 | 180 | 180
| Student Worker | 1 |  | 1 | 48 | 48 | 3 | 48 | 144 | Locate station in reception area.
| Photographer | 1 | 1 |  | 120 | 120 | 1 | 120 | 120
| Studio Space/Storage |  |  |  | 600 | 600 |  |  |  | Space for photo shoots and storage. Storage should be located in this room.
| Total Personnel | 5 |  |  |  |  | 7
| Total NSF Requirement |  |  |  |  | 1248 |  |  | 744
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty) |  |  | Comments:
Support Areas |  | Shared w/ other Dept. |  |  | Private within Dept. | SF |  |  | SF
| Reception/Waiting Area |  |  | 0 | 1 | 120 |  |  | 120 | Seating for 4 guest @ 30 SF each
| Copy/Work/File Room |  |  | 0 | 1 | 150 |  |  | 150 | Counter space with upper/lower cabinets, copier, fax, printer, telephone, shredder
| Conference Room |  |  | 0 | 1 | 120 |  |  | 120 | 6 seats @ 20 SF each. Writing surface, teleconference, data/power in table
| Total Support Area NSF Requirement |  |  |  |  | 390 |  |  | 390
| Total NSF |  |  |  |  | 1638 |  |  | 1134
Adjacencies:
Dean's Suite
Program Requirements
2010-12-13
| Department: | Affirmative & Minority Affairs, Assessment
| Existing Sq Ft: | 150 |  | 435
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty)
Job Title |  | Staff Qty | Office Qty | WkSt Qty | Std SF | Extended SF | Staff Qty | Office/ WkSt Qty | Extended SF | Comments:
Staff
Affirmative Action & Minority Affairs
| Director of Affirm. Action & Minor. Affairs | 1 | 1 |  | 180 | 180 | 1 | 180 | 180
Assessment
| Director of Assessment | 1 | 1 |  | 180 | 180 | 1 | 180 | 180
| Assistant Director | 1 | 1 |  |  |  | 1 | 120 | 120
| Secretary 2 | 1 |  | 1 | 48 | 48 | 1 | 48 | 48
| Total Personnel | 4 |  |  |  |  | 4
| Total NSF Requirement |  |  |  |  | 408 |  |  | 528
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty) |  |  | Comments:
Support Areas |  | Shared w/ other Dept. |  |  | Private within Dept. | SF |  |  | SF
| Reception/Waiting Area |  |  | 0 | 1 | 180 |  |  | 180 | Seating for 6 guest @ 30 SF each.
| Copy/Work |  |  | 0 | 1 | 100 |  |  | 100 | Counter space with upper/lower cabinets, copier, fax, printer, telephone, shredder.
| File Room |  |  | 0 | 1 | 100 |  |  | 100 | Must be secure for Assessment.
| Conference Room |  |  | 0 | 1 | 120 |  |  | 120 | 6 seats @ 20 SF each. Writing surface, teleconference, data/power in table.
| Total Support Area NSF Requirement |  |  |  |  | 500 |  |  | 500
| Total NSF |  |  |  |  | 908 |  |  | 1028
Adjacencies:
Close to Main Entry
Program Requirements
2010-12-13
| Department: | Student and Professional Affairs
| Existing Sq Ft: | 2170
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty)
Job Title |  | Staff Qty | Office Qty | WkSt Qty | Std SF | Extended SF | Staff Qty | Office/ WkSt Qty | Extended SF | Comments:
Staff
| Assistant Dean of Student & Pro Affairs | 1 | 1 |  | 180 | 180 | 1 | 180 | 180
| Director of Admissions | 1 | 1 |  | 120 | 120 | 1 | 120 | 120
| Director of Recruiting | 1 | 1 |  | 120 | 120 | 1 | 120 | 120
| Academic Advisor | 2 | 2 |  | 120 | 240 | 2 | 120 | 240
| Student Events Coordinator | 1 | 1 |  | 120 | 120 | 1 | 120 | 120
| Secretary/Receptionist | 1 |  | 1 | 48 | 48 | 2 | 48 | 96 | Locate in reception area
| Workstudy | 1 |  | 1 | 48 | 48 | 2 | 48 | 96 | Locate in reception area
| Counseling Intern |  | 1 |  |  |  | 1 | 120 | 120
| Financial Aid | [5 empty] | 1 | 120 | 120
| Total Personnel | 8 |  |  |  |  | 12
| Total NSF Requirement |  |  |  |  | 876 |  |  | 1212
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty) |  |  | Comments:
Support Areas |  | Shared w/ other Dept. |  |  | Private within Dept. | SF |  |  | SF
| Reception/Waiting Area |  |  | 0 | 1 | 300 |  |  | 300 | Seating for 10 guest @ 30 SF each. Up to three workstations located in this area. See above. Cubby area for student pamphlet information.
| Copy/Work/File Room |  |  | 0 | 1 | 150 |  |  | 150 | Counter space with upper/lower cabinets, copier, fax, printer, telephone, shredder
| Conference Room |  |  | 0 | 1 | 120 |  |  | 120 | 6 seats @ 20 SF each. Writing surface in room.
| Interview/advising rooms |  |  | 0 | 4 | 100 |  |  | 400 | Writing surface in room.
| Total Support Area NSF Requirement |  |  |  |  | 670 |  |  | 970
| Total NSF |  |  |  |  | 1546 |  |  | 2182
Adjacencies:
Close to Main Entry
Program Requirements
2010-12-13
| Department: | Information Technology
Existing Sq Ft:
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty)
Job Title |  | Staff Qty | Office Qty | WkSt Qty | Std SF | Extended SF | Staff Qty | Office/ WkSt Qty | Extended SF | Comments:
Staff
| Director/Assistant Director | 1 | 1 |  | 180 | 180 | 1 | 180 | 180
| Instructional Designer | 1 | 1 |  | 120 | 120 | 1 | 120 | 120
| User Specialist | 2 | 2 |  | 120 | 240 | 2 | 120 | 240
| Graduate Technology Assistant | [5 empty] | 1 | 48 | 48 | Locate in reception area
| Student Workers | [5 empty] | 2 | 48 | 96 | Locate in reception area
| Total Personnel | 4 |  |  |  |  | 7
| Total NSF Requirement |  |  |  |  | 540 |  |  | 684
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty) |  |  | Comments:
Support Areas |  | Shared w/ other Dept. |  |  | Private within Dept. | SF |  |  | SF
| Reception/Waiting Area |  |  | 0 | 1 | 60 |  |  | 60 | Seating for 2 guest @ 30 SF each.
| Copy/Work/File Room |  |  | 0 | 1 | 200 |  |  | 200 | Work surface, counter space with upper/lower opened cabinets, copier, fax, printer, telephone, shredder.
| Storage Closet |  |  | 0 | 1 | 150 |  |  | 150 | Needs corridor access.
| Server Closet |  |  |  | 1 | 100 |  |  | 100 | Special HVAC requirements.
| Total Support Area NSF Requirement |  |  |  |  | 510 |  |  | 510
| Total NSF |  |  |  |  | 1050 |  |  | 1194
Adjacencies:
Located close to classrooms.
Program Requirements
2010-12-13
| Department: | Experiential Programs
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty)
Job Title |  | Staff Qty | Office Qty | WkSt Qty | Std SF | Extended SF | Staff Qty | Office/ WkSt Qty | Extended SF | Comments:
Staff
| Assistant Dean for Experiential Programs | 1 | 1 |  | 180 | 180 | 1 | 180 | 180
| Director, Institutional-Based APPE | 1 | 1 |  | 120 | 120 | 3 | 120 | 360
| Director, Ambulatory Care-Based APPE | 1 | 1 |  | 120 | 120 | 3 | 120 | 360
| Director, Introductory Pharm Practice Exp. | 1 | 1 |  | 120 | 120 | 3 | 120 | 360
| Administrative Assistant | 1 |  | 1 | 48 | 48 | 4 | 48 | 192 | Locate in reception area.
| Total Personnel | 5 |  |  |  |  | 14
| Total NSF Requirement |  |  |  |  | 588 |  |  | 1452
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty) |  |  | Comments:
Support Areas |  | Shared w/ other Dept. |  |  | Private within Dept. | SF |  |  | SF
| Reception/Waiting Area |  |  | 0 | 1 | 300 | 1 |  | 300 | Seating for 10 guest @ 30 SF each.
| Copy/Work/File Room |  |  | 0 | 1 | 120 | 1 |  | 120 | Work surface, counter space with upper/lower opened cabinets, copier, fax, printer, telephone, shredder.
| File Room |  |  | 0 | 1 | 150 | 1 |  | 150 | Locking door.
| Conference Room |  |  | 0 | 1 | 120 | 1 |  | 120 | 6 seats @ 20 SF each.
| Total Support Area NSF Requirement |  |  |  |  | 690 |  |  | 690
| Total NSF |  |  |  |  | 1278 |  |  | 2142
Adjacencies:
Located close to CSA
Level 2
Program Requirements
2010-11-15
| Department: | Building Common/Shared Areas
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty)
Title |  | Qty |  |  | Std SF | Extended SF |  |  | Extended SF | Comments:
Classrooms
| Main Lobby | 1 |  |  | 1000 | 1000 |  |  | 1000 | Display for antique pharmacy collection.
| Large Conference Room | 3 |  |  | 480 | 1440 |  |  | 1440 | 24 seats @ 20 SF each. One on each floor.
| Small Conference Room | 3 |  |  | 240 | 720 |  |  | 720 | 12 seats @ 20 SF each. One on each floor. Locate by large conference room.
| Staff/Faculty Break Room | 3 |  |  | 200 | 600 |  |  | 600 | One on each floor.
| Total Classrooms | 10 |  |  |  |  | 0
| Total NSF Requirement |  |  |  |  | 3760 |  |  | 3760
| Total NSF |  |  |  |  | 3760 |  |  | 3760
Adjacencies:
On floor together or adjacent floors
Program Requirements
2010-12-13
| Department: | Student Ancillary Spaces
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty)
Job Title |  | Qty | Std. Qty |  | Std SF | Extended SF |  |  | Extended SF | Comments:
Student Spaces
| Student Resource Center | 1 | 1200 |  | 1200 | 1200 | 1 |  | 1200 | 60 students @ 20 SF each. This area should have round study tables and bar space for studying w/ computer hookup.
| Student Group Study Rooms | 8 | 120 |  | 960 | 960 | 8 |  | 960 | 6 students @ 20 SF each. These should be soundproof and off the Student Resource Center.
| Computer/Study Carrols | 1 | 1200 |  | 1200 | 1200 | 1 |  | 1200 | 60 students @ 20 SF each. This area should have individual carrels w/ computer hookup.
| Student Locker Room w/ changing room | 1 | 1200 |  | 1200 | 1200 | 1 |  | 1200
| Student Lounge | 1 | 1200 |  | 1200 | 1200 | 1 |  | 1200 | Connected to student break room.
| Student Break Room | 1 | 1200 |  | 1200 | 1200 | 1 |  | 1200 | Connected to student lounge.
| Student Organizations Suite | 1 | 500 |  | 500 | 500 | 1 |  | 500 | 10 student organizations within the college. Each need a cubicle with one shared storage closet.
| Total Personnel | 14 |  |  |  |  | 14
| Total NSF Requirement |  |  |  |  | 7460 |  |  | 7460
| Total NSF |  |  |  |  | 7460 |  |  | 7460
Adjacencies:
On floor together or adjacent floors
Program Requirements
2010-12-13
| Department: | Pharmacological & Pharmaceutical Sciences Suite
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty)
Job Title |  | Staff Qty | Office Qty | WkSt Qty | Std SF | Extended SF | Staff Qty | Office/ WkSt Qty | Extended SF | Comments:
Staff
| Executive Vice Dean for Research | 1 | 1 |  | 180 | 180 | 1 | 180 | 180
| Department Chair P&PS | 1 | 1 |  | 180 | 180 | 1 | 180 | 180
| Vice Chair | 1 | 1 |  | 180 | 180 | 1 | 180 | 180
| Department Business Administrator | 1 | 1 |  | 120 | 120 | 1 | 120 | 120
| Executive Secretary/Grad Student Support | 1 |  | 1 | 48 | 0 | 1 | 48 | 48
| Executive Vice Dean's Secretary | 1 |  | 1 | 48 | 0 | 1 | 48 | 48
| Total Personnel | 6 |  |  |  |  | 6
| Total NSF Requirement |  |  |  |  | 660 |  |  | 756
Support Areas
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty) |  |  | Comments:
|  | Shared w/ other Dept. |  |  | Private within Dept. | SF |  |  | SF
| Reception/Waiting Area |  |  | 0 | 1 | 216 | 1 |  | 216 | Seating for 4 guest @ 30 SF each and two 48 SF . Up to two workstations could be located in this area. See above.
| Copy/Work/File Room |  |  | 0 | 1 | 150 | 1 |  | 150 | Work surface, counter space with upper/lower opened cabinets, copier, fax, printer, telephone, shredder.
| File Room |  |  | 0 | 1 | 150 | 1 |  | 150 | Locking door.
| Conference Room |  |  | 0 | 1 | 160 | 1 |  | 160 | 8 seats @ 20 SF each.
| Total Support Area NSF Requirement |  |  |  |  | 676 |  |  | 676
| Total NSF |  |  |  |  | 1336 |  |  | 1432
Adjacencies:
Need to be close to PPS Faculty and Labs
Program Requirements
2010-12-13
| Department: | Pharmacological & Pharmaceutical Sciences Faculty Offices & Grad Student Areas
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty)
Job Title |  | Staff Qty | Office Qty | WkSt Qty | Std SF | Extended SF | Staff Qty | Office/ WkSt Qty | Extended SF | Comments:
Staff/Faculty
| Support Staff | 4 |  | 4 | 48 | 192 | 6 | 48 | 288
| Pharmacology Faculty | 12 | 12 |  | 120 | 1440 | 13 | 120 | 1560
| Pharmaceutics Faculty | 5 | 5 |  | 120 | 600 | 11 | 120 | 1320
| Med Chem Faculty | 3 | 3 |  | 120 | 360 | 9 | 120 | 1080
| Teaching Faculty | 3 | 3 |  | 120 | 360 | 5 | 120 | 600
| Grad Students | 43 |  | 43 | 35 | 1505 | 43 | 35 | 1505 | What growth is expected. Grad students in their own open work area.
| Total Personnel | 70 |  |  |  |  | 87
| Total NSF Requirement |  |  |  |  | 4457 |  |  | 6353
| Total NSF |  |  |  |  | 4457 |  |  | 6353
Adjacencies:
Need to be close to PPS Labs
| Department: | Pharmacological & Pharmaceutical Sciences Labs
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty)
Job Title |  | Qty |  |  | Std SF | Extended SF | Qty |  | Extended SF | Comments:
Staff
| General Open Concept Lab | 1 |  |  | 37700 | 37700 | 1 |  | 37700 | General Biology/Biochem & Pharmaceutics & Synth. Med. Chem & Multipurpose Labs
| Tissue Culture Lab | 5 |  |  | 450 | 2250 | 5 |  | 2250
| Behavioral Core Lab | 1 |  |  | 600 | 600 | 1 |  | 600 | Subdivide 4 labs inside this space. Roughly 150 Sf each. Place in animal quarters.
| *Imaging Core lab | 2 |  |  | 200 | 400 | 2 |  | 400
| Cardiovascular Physiology Core Lab | 1 |  |  | 600 | 600 | 1 |  | 600 | Subdivide 4 labs inside this space. Roughly 150 Sf each. Place in animal quarters.
| Chronic Cardio/Pharmacokinetics Meas. Lab | 1 |  |  | 400 | 400 | 2 |  | 800 | Animals monitored in this lab. Put in animal quarters.
| *Common Centrifuge Lab | 2 |  |  | 200 | 400 | 3 |  | 600 | Need to be on separate floors. Require special ventilation for heat requirements.
| *Common Autoclave Lab | 3 |  |  | 120 | 360 | 4 |  | 480 | Close to Tissue Culture Labs.
| Electrophysiology Lab | 1 |  |  | 200 | 200 | 5 |  | 1000 | Must be vibration free. Ante-room to be located inside this lab
| Dosage Form Assessment Lab | 1 |  |  | 200 | 200 | 6 |  | 1200
| *Gel Documentation Lab | 1 |  |  | 100 | 100 | 7 |  | 700 | Light box located inside the room with high capacity digital camera.
| Histopath. Sample Prep Lab | 1 |  |  | 200 | 200 | 8 |  | 1600
| *Analytical Chemistry Instrument Lab | 1 |  |  | 200 | 200 | 9 |  | 1800
| *Crystallography Lab | 1 |  |  | 75 | 75 | 10 |  | 750 | Must be sound proof, no vibration, and high climate control.
| *qPCR Core Lab | 1 |  |  | 100 | 100 | 11 |  | 1100
| Freezer Farm | 1 |  |  | 288 | 288 | 12 |  | 3456
| Total Personnel | 24 |  |  |  |  | 87
| Total NSF Requirement |  |  |  |  | 44073 |  |  | 55036
| Total NSF |  |  |  |  | 44073 |  |  | 55036
Notes: * to share with Clinical Sciences
Program Requirements
2010-12-13
| Department: | Clinical Sciences and Administration Suite (Pharmacy Administration and Public Health Included)
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty)
Job Title |  | Staff Qty | Office Qty | WkSt Qty | Std SF | Extended SF | Staff Qty | Office/ WkSt Qty | Extended SF | Comments:
Staff
Clinical Sciences and Administration
| Department Chair of CS&A | 1 | 1 |  | 180 | 180 | 1 | 180 | 180
| Clinical Therapeutics Division Head | 1 | 1 |  | 180 | 180 | 1 | 180 | 180
| Faculty Institute Directors |  |  |  |  | 0 | 2 | 120 | 240
| Department Business Administrator | 1 | 1 |  | 120 | 120 | 1 | 120 | 120
| Executive Secretary | 1 |  | 1 | 48 | 48 | 1 | 48 | 48
| Graduate Student Support | 1 | 1 |  | 120 | 120 | 1 | 120 | 120
Pharmacy Administration
| Department Chair | 1 | 1 |  | 180 | 180 | 1 | 180 | 180
| Faculty Institute Directors | 1 | 1 |  | 120 | 120 | 2 | 120 | 240
| Graduate Student Support | 1 | 1 |  | 120 | 120 | 1 | 120 | 120
| Executive Secretary | 1 | 0 | 1 | 48 | 48 | 1 | 48 | 48
| Department Business Administrator | 1 | 1 |  | 120 | 120 | 1 | 120 | 120
| Graduate Student Area | 40 | 35 |  | 35 | 1400 | 124 |  | 4340 | 124 graduate students with 35 SF cubicles. (currently have 40 students) 44 additional MS in Health System Pharmand PhD Translational Sciences
| Postdoctoral Fellows/ Residents | 1 | 700 |  | 700 | 700 | 1 |  | 700 | 20 fellows/residents with 35 SF cubicles. (asking for 16)
| Total Personnel | 51 |  |  |  |  | 138
| Total NSF Requirement |  |  |  |  | 3336 |  |  | 6636
Support Areas
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty) |  |  | Comments:
|  | Shared w/ other Dept. |  |  | Private within Dept. | SF |  |  | SF
| Reception/Waiting Area |  |  | 0 | 1 | 216 | 1 |  | 216 | Seating for 4 guest @ 30 SF each and two 48 SF . Up to two workstations could be located in this area. See above.
| Copy/Work/File Room |  |  | 0 | 1 | 150 | 1 |  | 150 | Work surface, counter space with upper/lower opened cabinets, copier, fax, printer, telephone, shredder.
| File Room |  |  | 0 | 1 | 150 | 1 |  | 150 | Locking door.
| Conference Room |  |  | 0 | 1 | 160 | 1 |  | 160 | 8 seats @ 20 SF each.
| Total Support Area NSF Requirement |  |  |  |  | 676 |  |  | 676
| Total NSF |  |  |  |  | 4012 |  |  | 7312
| Department: | Clinical Sciences and Administration Faculty Offices and Grad Students Area (PA & PH Included)
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty)
Job Title |  | Staff Qty | Office Qty | WkSt Qty | Std SF | Extended SF | Staff Qty | Office/ WkSt Qty | Extended SF | Comments:
Staff/Faculty
Clinical Sciences and Administration
| Support Staff | 2 |  | 2 | 48 | 96 | 2 | 48 | 96 | In bullpen area.
| College Based Faculty, Clinical Track | 12 | 1 |  | 120 | 1440 | 22 | 120 | 2640 | These can be outside the suite and close to the lab areas for this group.
| College Based Faculty, Clinical Track | 7 | 1 |  | 120 | 840 | 22 | 120 | 2640
| Postdoctoral fellows/residents | 4 |  | 4 | 35 | 140 | 16 | 35 | 560
| Grad Students, MS in Health System Pharmacy | [5 empty] | 20 | 35 | 700 | Grad students in their own open work area. Could have worksurface in labs.
| Grad Students, OhD Transitional Sciences | [5 empty] | 24 | 35 | 840 | Grad students in their own open work area. Could have work surface in labs.
Pharmacy Administration
| Support Staff | [5 empty] | 2 | 48 | 96 | In bullpen area with above.
| College Based Faculty | 6 | 1 |  | 120 | 720 | 14 | 120 | 1680
| Postdoctoral Researchers | 2 | 1 |  | 80 | 160 | 11 | 80 | 880
| Grad Students | 40 |  | 35 | 35 | 1400 | 80 | 35 | 2800 | Grad students in their own open work area.
| Total Personnel | 73 |  |  |  |  | 213
| Total NSF Requirement |  |  |  |  | 4796 |  |  | 12932
| Total NSF |  |  |  |  | 4796 |  |  | 12932
Adjacencies:
Need to be close to PPS Labs
| Department: | Clinical Sciences Lab Requirements
Job Title
|  | Move-In |  |  |  |  | Future 2020 (includes move-in qty)
Labs |  | Qty |  |  | Std SF | Extended SF | Qty |  | Extended SF | Comments:
| Open Lab | 1 |  |  | 3600 | 3600 | 1 |  | 3600 | Infectious Diseases, Immunology/Pharmacogenomics, Oncology/Hematology Labs all together. 3 benches per researcher with a total of 24.
| Multipurpose Labs | 1 |  |  | 7500 | 7500 | 1 |  | 7500 | Requested 5 @ 1500 each. Combined them to make one large open lab concept.
| Sample Storage Lab | 1 |  |  | 800 | 800 |  |  | 0 | 10-80 freezers will be stored in this room. Special HVAC will be required.
| Warm Room Lab | 1 |  |  | 500 | 500 | 1 |  | 500 | Incubator and experiment room.
| Cold Room Lab | 1 |  |  | 500 | 500 | 1 |  | 500 | Long term storage and animal surgery.
| Sample Long-term Storage | 1 |  |  | 800 | 800 | 1 |  | 800
| Tissue Culture Labs | 5 |  |  | 600 | 3000 | 1 |  | 3000 | Requesting 5 @ 600.
| Pharm AD Research Labs | 1 |  |  | 5120 | 5120 | 1 |  | 5120 | 75 grad student cubes 6'x8', 6 post doctoral small offices 100 sq ft , 6 research faculty 120 sq ft, storage room 200 sq ft.
See shared labs w/ above
Community Practice Lab
| Model Community Pharmacy | 1 |  |  | 2500 | 2500 | 1 |  | 2500 | 50 students: 150 linear feet of work surface (3' per student) 50 SF per student. Centralized projection screen. Drug storage cabinets needed along walls. 200 SF for storage closet. Need a sink area with six sinks.
| Simulated Intravenous Hood lab w/ classroom | 1 |  |  | 3950 | 3950 | 1 |  | 3950 | 25 hoods (4'x2') and classroom seating for 125 students at 30SF each.
| OSCE Rooms (located between two labs above) | 16 |  |  | 100 | 1600 | 16 |  | 1600 | Small rooms with flip top table & two chairs. Should have access from both labs above and to corridor to be used by other departments.
| Total Personnel | 30 |  |  |  |  | 25
| Total NSF Requirement |  |  |  |  | 29870 |  |  | 29070
| Total NSF |  |  |  |  | 29870 |  |  | 29070
Notes: Labs shared with P&P =
Building Total NSF
Total Estimated Gross SF (ASF x 1.5)

## BLANK FORM
UHERP- BUILDINGS 2 & 3A | [10 empty] | Program Requirements
MORRIS ARCHITECTS | [10 empty] | 22 July 2010
Department:
Existing Location:
Leader:
| Info. Provided By: |  |  |  |  | Approved and Dated By:
|  | Move-In |  |  |  |  | Future 2015 (includes move-in qty)
|  |  |  | For architect use only |  |  |  |  | For architect use only
Job Title |  | Code | Staff Qty | Office/ WkSt Qty | Std SF | Extended SF | Code | Staff Qty | Office/ WkSt Qty | Extended SF | Comments:
Staff
Total Personnel
| Total Staff NSF Requirement | [5 empty] | nsf |  |  |  | nsf
|  | Move-In |  |  |  |  | Future 2015 (includes move-in qty)
Support Areas |  | Qty Shared w/ other Dept. |  | Qty Private within Dept. | Number of Occupants | For architect use only SF | Qty Shared w/ other Dept. | Qty Private within Dept. | Number of Occupants | For architect use only Extended SF | Comments
| Total Support Area NSF Requirement | [9 empty] | nsf
| Total NSF | [9 empty] | nsf
| Total USF Space Requirements @ |  | 1.3 | % | [6 empty] | usf
Adjacencies: