Problem # 1   Select the best answer for the following questions:

| A. The current carriers in a metal conductor are: | a. protons b. ions c. atoms d. electrons | B. The force which drives current through a load is: | a. voltage - watts - amperes d. coulombs |
| --- | --- | --- | --- |
| C. As temperature rises, metal resistance : | a. decreases - stays the same - increases - becomes negative | D. The circular mil is a measure of : | a. resistance - area - length - resistivity |
| E. A superconductor is a material with : | a. zero resistance b. copper - very high resistance - low voltage | F. The kilowatthour (kwh) is a measure of : | a. power - voltage - current - energy |

Problem # 2    How many feet of wire do I need to get 50  from aluminum wire with a radius of  0.5 mm?  The resistivity of aluminum is 2.83 x 10-6 -cm

Problem # 3  Given the following circuit with a 1.2 volt battery and 5 k resistor:

  - What is the magnitude (in A) and direction (up or down) of the current through the resistor?

  - How much power in mW  is dissipated by the resistor?

(c)	If the battery has a lifetime rating of 1.25 Ah, how many days will the battery be able to supply this current?

Problem 4:  A 0.25 horsepower electric motor has an efficiency of 78%.   It operates from a source of 120 V.  (1 hp  746 watts)

(a)	What is the power input to the motor in watts?

(b)	What is the current though the motor?

(c)	How many kilowatthours (kwh) are consumed by the motor if it operates for 10 hours?